## MAXXeGUARD BASIS + VISION +
source_pdf | source_page | source_section | row_index | device_tag | quantity | description | manufacturer | model_number | order_number | schematic_position | extra_fields | raw | warnings
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 21 | +BASIC | 0 | 100F0 | 1 | FUSE BASE, 600VAC/DC, 30A, J TYPE, 200KA | ROCKWELL AUTOMATION | 1492-FB2J30-L | 1492-FB2J30-L |  | {"col_6": "UL IZLT7.E34648\n_"} | ["100F0", "1", "FUSE BASE, 600VAC/DC, 30A, J TYPE, 200KA", "1492-FB2J30-L", "1492-FB2J30-L", "ROCKWELL AUTOMATION", "UL IZLT7.E34648\n_"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 21 | +BASIC | 1 | 100F0 | 2 | FUSE, 600VAC, 15A, J TYPE | Eaton | LPJ-15SP | LPJ-15SP |  | {"col_6": "E4273"} | ["100F0", "2", "FUSE, 600VAC, 15A, J TYPE", "LPJ-15SP", "LPJ-15SP", "Eaton", "E4273"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 21 | +BASIC | 2 | 100F0 | 1 | LABEL, WHITE, 40X25MM | PHOENIX CONTACT | EML (40X25)R | 0818027 |  | {"col_6": "UL PGJI2.MH48542\n_"} | ["100F0", "1", "LABEL, WHITE, 40X25MM", "EML (40X25)R", "0818027", "PHOENIX CONTACT", "UL PGJI2.MH48542\n_"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 21 | +BASIC | 3 | 100S0 | 1 | LOAD ISOLATOR WITH GRIP, 3P, 380...440VAC, 25A, BLACK, FOUR HOLE MOUNTING | SIEMENS | 3LD2103-0TK51 | 3LD2103-0TK51 |  | {"col_6": "UL NLRV.E302554\n_"} | ["100S0", "1", "LOAD ISOLATOR WITH GRIP, 3P, 380...440VAC, 25A, BLACK, FOUR HOLE MOUNTING", "3LD2103-0TK51", "3LD2103-0TK51", "SIEMENS", "UL NLRV.E302554\n_"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 21 | +BASIC | 4 | 100S0 | 1 | COVER, 3P | SIEMENS | 3LD9221-0A | 3LD9221-0A |  | {"col_6": "UL NLRV.E302554\n_"} | ["100S0", "1", "COVER, 3P", "3LD9221-0A", "3LD9221-0A", "SIEMENS", "UL NLRV.E302554\n_"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 21 | +BASIC | 5 | 100W0 | 3 | CONTROL CABLE, PVC, CORES NUMBERED, 3G2,5 | LAPP BENELUX | ÖLFLEX CONTROL TM | 281403 |  | {"col_6": "UL AVLV2.E63634\n_"} | ["100W0", "3", "CONTROL CABLE, PVC, CORES NUMBERED, 3G2,5", "ÖLFLEX CONTROL TM", "281403", "LAPP BENELUX", "UL AVLV2.E63634\n_"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 21 | +BASIC | 6 | 100W0.1 | 3 | CONTROL CABLE, PVC, CORES NUMBERED, 3G2,5 | LAPP BENELUX | ÖLFLEX CONTROL TM | 281403 |  | {"col_6": "UL AVLV2.E63634\n_"} | ["100W0.1", "3", "CONTROL CABLE, PVC, CORES NUMBERED, 3G2,5", "ÖLFLEX CONTROL TM", "281403", "LAPP BENELUX", "UL AVLV2.E63634\n_"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 21 | +BASIC | 7 | 100W0.2 | 6 | CONTROL CABLE, PVC, COLORED CORES, 3X13AWG | HELUKABEL B.V. | H05VV-F/SJT | 28043 |  | {"col_6": "UL ZJCZ.E192384\n_"} | ["100W0.2", "6", "CONTROL CABLE, PVC, COLORED CORES, 3X13AWG", "H05VV-F/SJT", "28043", "HELUKABEL B.V.", "UL ZJCZ.E192384\n_"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 21 | +BASIC | 8 | 100W0.2 | 1 | CABLE GLAND, M20X1,5, 7…13MM, POLYAMIDE, IP68 | LAPP BENELUX | 53111020 | 53111020 |  | {"col_6": "UL QCRV.E79903\n_"} | ["100W0.2", "1", "CABLE GLAND, M20X1,5, 7…13MM, POLYAMIDE, IP68", "53111020", "53111020", "LAPP BENELUX", "UL QCRV.E79903\n_"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 21 | +BASIC | 9 | 100W0.2 | 1 | LOCK NUT, M20X1,5, POLYAMIDE | LAPP BENELUX | 53119020 | 53119020 |  | {"col_6": "UL QCRV.E79903\n_"} | ["100W0.2", "1", "LOCK NUT, M20X1,5, POLYAMIDE", "53119020", "53119020", "LAPP BENELUX", "UL QCRV.E79903\n_"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 21 | +BASIC | 10 | 100X1 | 0 | CONNECTOR, 250VAC, 30A, MALE, SCREW CONNECTION, IP20 | FARNELL | 1691430 | 1691430 |  | {"col_6": "UL AXUT.E1706\n_"} | ["100X1", "0", "CONNECTOR, 250VAC, 30A, MALE, SCREW CONNECTION, IP20", "1691430", "1691430", "FARNELL", "UL AXUT.E1706\n_"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 21 | +BASIC | 11 | 100X1 | 1 | CONNECTOR SCHUKO, 230VAC, 16A, MALE, BLACK, SCREW CONNECTION, IP44 | MENNEKES | 10749 | 10754 |  | {"col_6": ""} | ["100X1", "1", "CONNECTOR SCHUKO, 230VAC, 16A, MALE, BLACK, SCREW CONNECTION, IP44", "10749", "10754", "MENNEKES", ""]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 21 | +BASIC | 12 | 101M1 | 1 | PROVIDED BY CUSTOMER |  |  |  |  | {"col_6": ""} | ["101M1", "1", "PROVIDED BY CUSTOMER", "", "", "", ""]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 21 | +BASIC | 13 | 101M1 | 1 | EMC CABLE GLAND, M25X1,5, 9…16,5MM, BRASS NICKEL-PLATED, O-RING, -30…100°C, IP68 | LAPP BENELUX | MS-SC-M | 53112640 |  | {"col_6": "UL QCRV.E79903\n_"} | ["101M1", "1", "EMC CABLE GLAND, M25X1,5, 9…16,5MM, BRASS NICKEL-PLATED, O-RING, -30…100°C, IP68", "MS-SC-M", "53112640", "LAPP BENELUX", "UL QCRV.E79903\n_"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 21 | +BASIC | 14 | 101N1 | 1 | FREQUENCY TRANSFORMER, 200…240VAC, 47...63HZ, 2,2kW, EMC FILTER, IP20 | NORD AANDRIJVING NEDERLAND BV | SK500E-221-323-A | 275410220 |  | {"col_6": "UL NMMS.E171342\n_"} | ["101N1", "1", "FREQUENCY TRANSFORMER, 200…240VAC, 47...63HZ, 2,2kW, EMC FILTER, IP20", "SK500E-221-323-A", "275410220", "NORD AANDRIJVING NEDERLAND BV", "UL NMMS.E171342\n_"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 21 | +BASIC | 15 | 101N1 | 1 | CONTROLPANEL STANDARD | NORD AANDRIJVING NEDERLAND BV | SK TU3-CTR | 275900090 |  | {"col_6": ""} | ["101N1", "1", "CONTROLPANEL STANDARD", "SK TU3-CTR", "275900090", "NORD AANDRIJVING NEDERLAND BV", ""]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 21 | +BASIC | 16 | 101N1 | 1 | EMC KIT, SIZE 1 AND 2 | NORD AANDRIJVING NEDERLAND BV | SK EMC2-1 | 275999011 |  | {"col_6": ""} | ["101N1", "1", "EMC KIT, SIZE 1 AND 2", "SK EMC2-1", "275999011", "NORD AANDRIJVING NEDERLAND BV", ""]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 21 | +BASIC | 17 | 101W2 | 3 | CONTROL CABLE, PVC, CORES NUMBERED, 4G2,5, SHIELDED | LAPP BENELUX | ÖLFLEX CONTROL TM CY | 281404CY |  | {"col_6": "UL AVLV2.E63634\n_"} | ["101W2", "3", "CONTROL CABLE, PVC, CORES NUMBERED, 4G2,5, SHIELDED", "ÖLFLEX CONTROL TM CY", "281404CY", "LAPP BENELUX", "UL AVLV2.E63634\n_"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 21 | +BASIC | 18 | 150F1 | 1 | FUSE CIRCUIT-BREAKER, 6A, 2P, C-CHAR, 480Y/277V | SCHNEIDER ELECTRIC | M9F42206 | M9F42206 |  | {"col_6": "UL DIVQ.E215117\n_"} | ["150F1", "1", "FUSE CIRCUIT-BREAKER, 6A, 2P, C-CHAR, 480Y/277V", "M9F42206", "M9F42206", "SCHNEIDER ELECTRIC", "UL DIVQ.E215117\n_"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 21 | +BASIC | 19 | 150F1.1 | 1 | FUSE CIRCUIT-BREAKER, 4A, 2P, C-CHAR, 480Y/277V | SCHNEIDER ELECTRIC | M9F42204 | M9F42204 |  | {"col_6": "UL DIVQ.E215117\n_"} | ["150F1.1", "1", "FUSE CIRCUIT-BREAKER, 4A, 2P, C-CHAR, 480Y/277V", "M9F42204", "M9F42204", "SCHNEIDER ELECTRIC", "UL DIVQ.E215117\n_"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 21 | +BASIC | 20 | 150F5 | 1 | FUSE CIRCUIT-BREAKER, 1A, 2P, C-CHAR, 480Y/277V | SCHNEIDER ELECTRIC | M9F42201 | M9F42201 |  | {"col_6": "UL DIVQ.E215117\n_"} | ["150F5", "1", "FUSE CIRCUIT-BREAKER, 1A, 2P, C-CHAR, 480Y/277V", "M9F42201", "M9F42201", "SCHNEIDER ELECTRIC", "UL DIVQ.E215117\n_"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 21 | +BASIC | 21 | 150F8 | 1 | FUSE CIRCUIT-BREAKER, 6A, 2P, C-CHAR, 480Y/277V | SCHNEIDER ELECTRIC | M9F42206 | M9F42206 |  | {"col_6": "UL DIVQ.E215117\n_"} | ["150F8", "1", "FUSE CIRCUIT-BREAKER, 6A, 2P, C-CHAR, 480Y/277V", "M9F42206", "M9F42206", "SCHNEIDER ELECTRIC", "UL DIVQ.E215117\n_"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 21 | +BASIC | 22 | 150F8.1 | 1 | FUSE CIRCUIT-BREAKER, 2A, 2P, C-CHAR, 480Y/277V | SCHNEIDER ELECTRIC | M9F42202 | M9F42202 |  | {"col_6": "UL DIVQ.E215117\n_"} | ["150F8.1", "1", "FUSE CIRCUIT-BREAKER, 2A, 2P, C-CHAR, 480Y/277V", "M9F42202", "M9F42202", "SCHNEIDER ELECTRIC", "UL DIVQ.E215117\n_"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 21 | +BASIC | 23 | 150G1 | 1 | POWER SUPPLY, 1 PHASE, 85…132VAC, 170…264VAC, 24VDC, 5A | SIEMENS | 6EP1333-2BA20 | 6EP1333-2BA20 |  | {"col_6": "UL NMTR.E197259\n_"} | ["150G1", "1", "POWER SUPPLY, 1 PHASE, 85…132VAC, 170…264VAC, 24VDC, 5A", "6EP1333-2BA20", "6EP1333-2BA20", "SIEMENS", "UL NMTR.E197259\n_"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 21 | +BASIC | 24 | 150G8 | 1 | POWER SUPPLY, 1 PHASE, 85…264VAC, 120…370VDC, 36VDC, 4,3A | MEAN WELL EUROPE N.V. | HRP-150-36 | HRP-150-36 |  | {"col_6": ""} | ["150G8", "1", "POWER SUPPLY, 1 PHASE, 85…264VAC, 120…370VDC, 36VDC, 4,3A", "HRP-150-36", "HRP-150-36", "MEAN WELL EUROPE N.V.", ""]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 21 | +BASIC | 25 | 150G8 | 1 | LABEL, WHITE, 40X25MM | PHOENIX CONTACT | EML (40X25)R | 0818027 |  | {"col_6": "UL PGJI2.MH48542\n_"} | ["150G8", "1", "LABEL, WHITE, 40X25MM", "EML (40X25)R", "0818027", "PHOENIX CONTACT", "UL PGJI2.MH48542\n_"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 21 | +BASIC | 26 | 150M5 | 1 | CABINET FAN Blue e+, 24V(DC), 63³/H, RAL7035 | Rittal | SK.3238724 | 3238724 |  | {"col_6": ""} | ["150M5", "1", "CABINET FAN Blue e+, 24V(DC), 63³/H, RAL7035", "SK.3238724", "3238724", "Rittal", ""]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 21 | +BASIC | 27 | 150M7 | 1 | CABINET FAN Blue e+, 24V(DC), 20³/H, RAL7035 | Rittal | SK.3237724 | 3237724 |  | {"col_6": ""} | ["150M7", "1", "CABINET FAN Blue e+, 24V(DC), 20³/H, RAL7035", "SK.3237724", "3237724", "Rittal", ""]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 21 | +BASIC | 28 | 150W5 | 3 | CONTROL CABLE, PVC, CORES NUMBERED, 3G1 | LAPP BENELUX | ÖLFLEX CONTROL TM | 281803 |  | {"col_6": "UL AVLV2.E63634\n_"} | ["150W5", "3", "CONTROL CABLE, PVC, CORES NUMBERED, 3G1", "ÖLFLEX CONTROL TM", "281803", "LAPP BENELUX", "UL AVLV2.E63634\n_"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 21 | +BASIC | 29 | 150W7 | 1 | CONTROL CABLE, PVC, CORES NUMBERED, 3G1 | LAPP BENELUX | ÖLFLEX CONTROL TM | 281803 |  | {"col_6": "UL AVLV2.E63634\n_"} | ["150W7", "1", "CONTROL CABLE, PVC, CORES NUMBERED, 3G1", "ÖLFLEX CONTROL TM", "281803", "LAPP BENELUX", "UL AVLV2.E63634\n_"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 21 | +BASIC | 30 | 151W1 | 1 | VALVE CONNECTOR A, LED, Z DIODE, WITH CABLE, 3X0,5, PUR, 3M, OPEN END | PHOENIX CONTACT | SAC-3P- 3,0-PUR/A-1L-Z | 1434992 |  | {"col_6": "UL UL94 V0\n_"} | ["151W1", "1", "VALVE CONNECTOR A, LED, Z DIODE, WITH CABLE, 3X0,5, PUR, 3M, OPEN END", "SAC-3P- 3,0-PUR/A-1L-Z", "1434992", "PHOENIX CONTACT", "UL UL94 V0\n_"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 21 | +BASIC | 31 | 151W2 | 1 | VALVE CONNECTOR A, LED, Z DIODE, WITH CABLE, 3X0,5, PUR, 3M, OPEN END | PHOENIX CONTACT | SAC-3P- 3,0-PUR/A-1L-Z | 1434992 |  | {"col_6": "UL UL94 V0\n_"} | ["151W2", "1", "VALVE CONNECTOR A, LED, Z DIODE, WITH CABLE, 3X0,5, PUR, 3M, OPEN END", "SAC-3P- 3,0-PUR/A-1L-Z", "1434992", "PHOENIX CONTACT", "UL UL94 V0\n_"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 21 | +BASIC | 32 | 151Y1 | 1 | PROVIDED BY CUSTOMER |  |  |  |  | {"col_6": ""} | ["151Y1", "1", "PROVIDED BY CUSTOMER", "", "", "", ""]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 21 | +BASIC | 33 | 151Y2 | 1 | PROVIDED BY CUSTOMER |  |  |  |  | {"col_6": ""} | ["151Y2", "1", "PROVIDED BY CUSTOMER", "", "", "", ""]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 21 | +BASIC | 34 | 160M1 | 1 | STEPPER MOTOR, 24...50VDC, 5A | Beckhoff Automation GmbH & Co. KG | AS1050-0120 | AS1050-0120 |  | {"col_6": ""} | ["160M1", "1", "STEPPER MOTOR, 24...50VDC, 5A", "AS1050-0120", "AS1050-0120", "Beckhoff Automation GmbH & Co. KG", ""]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 21 | +BASIC | 35 | 160N1 | 1 | STEPPER MOTOR MODULE, 2 PHASE, 2DI, 4 ENCODER, 50VDC, 5A | Beckhoff Automation GmbH & Co. KG | EL7041-1000 | EL7041-1000 |  | {"col_6": ""} | ["160N1", "1", "STEPPER MOTOR MODULE, 2 PHASE, 2DI, 4 ENCODER, 50VDC, 5A", "EL7041-1000", "EL7041-1000", "Beckhoff Automation GmbH & Co. KG", ""]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 21 | +BASIC | 36 |  | 1 | ENCODER CABLE, 3M | Beckhoff Automation GmbH & Co. KG | ZK4000-5100-2030 | ZK4000-5100-2030 |  | {"col_6": ""} | ["", "1", "ENCODER CABLE, 3M", "ZK4000-5100-2030", "ZK4000-5100-2030", "Beckhoff Automation GmbH & Co. KG", ""]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 22 | +BASIC | 37 | 160W3 | 1 | MOTOR CABLE, 3M | Beckhoff Automation GmbH & Co. KG | ZK4000-6200-2030 | ZK4000-6200-2030 |  | {"col_6": ""} | ["160W3", "1", "MOTOR CABLE, 3M", "ZK4000-6200-2030", "ZK4000-6200-2030", "Beckhoff Automation GmbH & Co. KG", ""]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 22 | +BASIC | 38 | 161N1 | 1 | STEPPER MOTOR MODULE, 2 PHASE, 2DI, 4 ENCODER, 50VDC, 5A | Beckhoff Automation GmbH & Co. KG | EL7041-1000 | EL7041-1000 |  | {"col_6": ""} | ["161N1", "1", "STEPPER MOTOR MODULE, 2 PHASE, 2DI, 4 ENCODER, 50VDC, 5A", "EL7041-1000", "EL7041-1000", "Beckhoff Automation GmbH & Co. KG", ""]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 22 | +BASIC | 39 | 200K8 | 1 | SAFETY RELAIS, 3NO + 1NC, 24VDC, SPRING-CAGE CONNECTION | SIEMENS | 3SK1111-2AB30 | 3SK1111-1AB30 |  | {"col_6": "UL NKCR.E44653\n_"} | ["200K8", "1", "SAFETY RELAIS, 3NO + 1NC, 24VDC, SPRING-CAGE CONNECTION", "3SK1111-2AB30", "3SK1111-1AB30", "SIEMENS", "UL NKCR.E44653\n_"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 22 | +BASIC | 40 | 200S0 | 1 | DOOR-OPERATED SWITCH WITH LOCK, 24VAC/DC, 3NO+3NC, LOCK COIL HIGH | SCHMERSAL | AZM 161SK-12/12RKA-024 | 1166285 |  | {"col_6": "UL NKCR.E57648\n_"} | ["200S0", "1", "DOOR-OPERATED SWITCH WITH LOCK, 24VAC/DC, 3NO+3NC, LOCK COIL HIGH", "AZM 161SK-12/12RKA-024", "1166285", "SCHMERSAL", "UL NKCR.E57648\n_"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 22 | +BASIC | 41 | 200S0 | 1 | RIGHT-ANGLED KEY STRAIGHT | SCHMERSAL | AZM 161-B1 | 1145117 |  | {"col_6": "UL NKCR.E57648\n_"} | ["200S0", "1", "RIGHT-ANGLED KEY STRAIGHT", "AZM 161-B1", "1145117", "SCHMERSAL", "UL NKCR.E57648\n_"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 22 | +BASIC | 42 | 200S0 | 1 | CABLE GLAND, M16X1,5, 4,5…10MM, POLYAMIDE, IP68 | LAPP BENELUX | 53111010 | 53111010 |  | {"col_6": "UL QCRV.E79903\n_"} | ["200S0", "1", "CABLE GLAND, M16X1,5, 4,5…10MM, POLYAMIDE, IP68", "53111010", "53111010", "LAPP BENELUX", "UL QCRV.E79903\n_"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 22 | +BASIC | 43 | 200S2 | 1 | SAFETY SWITCH, 8MM, 2NC, M8, IP65 | PILZ | PSEN 1.1-P20 | 504220 |  | {"col_6": "UL NRNT.E153882\n_"} | ["200S2", "1", "SAFETY SWITCH, 8MM, 2NC, M8, IP65", "PSEN 1.1-P20", "504220", "PILZ", "UL NRNT.E153882\n_"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 22 | +BASIC | 44 | 200S4 | 1 | SAFETY SWITCH, 8MM, 2NC, M8, IP65 | PILZ | PSEN 1.1-P20 | 504220 |  | {"col_6": "UL NRNT.E153882\n_"} | ["200S4", "1", "SAFETY SWITCH, 8MM, 2NC, M8, IP65", "PSEN 1.1-P20", "504220", "PILZ", "UL NRNT.E153882\n_"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 22 | +BASIC | 45 | 200S6 | 1 | EMERGENCY-STOP SWITCH, IP67, TWIST RELEASE | EAO FIGROEN | 704.075.218 | 704.075.218 |  | {"col_6": "UL NKCR.E60460\n_"} | ["200S6", "1", "EMERGENCY-STOP SWITCH, IP67, TWIST RELEASE", "704.075.218", "704.075.218", "EAO FIGROEN", "UL NKCR.E60460\n_"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 22 | +BASIC | 46 | 200S6 | 1 | CONTACT BLOCK, 1NC, SCREW CONNECTION, FRONT FIXING | EAO FIGROEN | 704.910.2 | 704.910.2 |  | {"col_6": "UL NKCR.E60460\n_"} | ["200S6", "1", "CONTACT BLOCK, 1NC, SCREW CONNECTION, FRONT FIXING", "704.910.2", "704.910.2", "EAO FIGROEN", "UL NKCR.E60460\n_"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 22 | +BASIC | 47 | 200S7 | 1 | SAFETY SWITCH, 8MM, 2NC, M8, IP65 | PILZ | PSEN 1.1-P20 | 504220 |  | {"col_6": "UL NRNT.E153882\n_"} | ["200S7", "1", "SAFETY SWITCH, 8MM, 2NC, M8, IP65", "PSEN 1.1-P20", "504220", "PILZ", "UL NRNT.E153882\n_"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 22 | +BASIC | 48 | 200W1 | 3 | CONTROL CABLE, PVC, CORES NUMBERED, 7G1 | LAPP BENELUX | ÖLFLEX CONTROL TM | 281807 |  | {"col_6": "UL AVLV2.E63634\n_"} | ["200W1", "3", "CONTROL CABLE, PVC, CORES NUMBERED, 7G1", "ÖLFLEX CONTROL TM", "281807", "LAPP BENELUX", "UL AVLV2.E63634\n_"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 22 | +BASIC | 49 | 200W3 | 1 | M8 PLUG RECTANGULAR, 4P FEMALE, WITH CABLE, 4X0,25, PUR, YELLOW, 5M, OPEN END | PILZ | 533120 | 533120 |  | {"col_6": "UL AVLV2.E242293\n_"} | ["200W3", "1", "M8 PLUG RECTANGULAR, 4P FEMALE, WITH CABLE, 4X0,25, PUR, YELLOW, 5M, OPEN END", "533120", "533120", "PILZ", "UL AVLV2.E242293\n_"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 22 | +BASIC | 50 | 200W4 | 1 | M8 PLUG RECTANGULAR, 4P FEMALE, WITH CABLE, 4X0,25, PUR, YELLOW, 5M, OPEN END | PILZ | 533120 | 533120 |  | {"col_6": "UL AVLV2.E242293\n_"} | ["200W4", "1", "M8 PLUG RECTANGULAR, 4P FEMALE, WITH CABLE, 4X0,25, PUR, YELLOW, 5M, OPEN END", "533120", "533120", "PILZ", "UL AVLV2.E242293\n_"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 22 | +BASIC | 51 | 200W6 | 3 | CONTROL CABLE, PVC, CORES NUMBERED, 3G1 | LAPP BENELUX | ÖLFLEX CONTROL TM | 281803 |  | {"col_6": "UL AVLV2.E63634\n_"} | ["200W6", "3", "CONTROL CABLE, PVC, CORES NUMBERED, 3G1", "ÖLFLEX CONTROL TM", "281803", "LAPP BENELUX", "UL AVLV2.E63634\n_"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 22 | +BASIC | 52 | 200W7 | 1 | M8 PLUG RECTANGULAR, 4P FEMALE, WITH CABLE, 4X0,25, PUR, YELLOW, 5M, OPEN END | PILZ | 533120 | 533120 |  | {"col_6": "UL AVLV2.E242293\n_"} | ["200W7", "1", "M8 PLUG RECTANGULAR, 4P FEMALE, WITH CABLE, 4X0,25, PUR, YELLOW, 5M, OPEN END", "533120", "533120", "PILZ", "UL AVLV2.E242293\n_"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 22 | +BASIC | 53 | 250A1 | 1 | CONFIGURATION: COMPUTER / HMI, 24VDC, 7", TOUCH, TFT | Beckhoff Automation GmbH & Co. KG | CP6706-0001-0050 / 000097831 |  |  | {"col_6": ""} | ["250A1", "1", "CONFIGURATION: COMPUTER / HMI, 24VDC, 7\", TOUCH, TFT", "CP6706-0001-0050 / 000097831", "", "Beckhoff Automation GmbH & Co. KG", ""]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 22 | +BASIC | 54 | 250A1 | 1 | LABEL, WHITE, 40X25MM | PHOENIX CONTACT | EML (40X25)R | 0818027 |  | {"col_6": "UL PGJI2.MH48542\n_"} | ["250A1", "1", "LABEL, WHITE, 40X25MM", "EML (40X25)R", "0818027", "PHOENIX CONTACT", "UL PGJI2.MH48542\n_"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 22 | +BASIC | 55 | 250W1 | 3 | CONTROL CABLE, PVC, CORES NUMBERED, 3G1 | LAPP BENELUX | ÖLFLEX CONTROL TM | 281803 |  | {"col_6": "UL AVLV2.E63634\n_"} | ["250W1", "3", "CONTROL CABLE, PVC, CORES NUMBERED, 3G1", "ÖLFLEX CONTROL TM", "281803", "LAPP BENELUX", "UL AVLV2.E63634\n_"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 22 | +BASIC | 56 | 250W2 | 1 | PATCH CABLE, CAT 5E, FTP, LSZH, 1,5M, BLUE | INTRONICS | IB 7651 | IB 7651 |  | {"col_6": ""} | ["250W2", "1", "PATCH CABLE, CAT 5E, FTP, LSZH, 1,5M, BLUE", "IB 7651", "IB 7651", "INTRONICS", ""]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 22 | +BASIC | 57 | 251N1 | 1 | COUPLER MODULE, ETHERCAT, ETHERNET, 100MB, 2X RJ45 | Beckhoff Automation GmbH & Co. KG | EK1100 | EK1100 |  | {"col_6": "UL NRAQ.E172151\n_"} | ["251N1", "1", "COUPLER MODULE, ETHERCAT, ETHERNET, 100MB, 2X RJ45", "EK1100", "EK1100", "Beckhoff Automation GmbH & Co. KG", "UL NRAQ.E172151\n_"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 22 | +BASIC | 58 | 251N1 | 1 | END CAP | Beckhoff Automation GmbH & Co. KG | EL9011 | EL9011 |  | {"col_6": "UL NRAQ.E172151\n_"} | ["251N1", "1", "END CAP", "EL9011", "EL9011", "Beckhoff Automation GmbH & Co. KG", "UL NRAQ.E172151\n_"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 22 | +BASIC | 59 | 251N1 | 2 | END BRACKET | PHOENIX CONTACT | E/NS 35 N | 0800886 |  | {"col_6": "UL UL94 V0\n_"} | ["251N1", "2", "END BRACKET", "E/NS 35 N", "0800886", "PHOENIX CONTACT", "UL UL94 V0\n_"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 22 | +BASIC | 60 | 251N1.1 | 1 | LICENSE CARD FOR TWINCAT 3.1 | Beckhoff Automation GmbH & Co. KG | EL6070-0033 | EL6070-0033 |  | {"col_6": "UL NRAQ.E172151\n_"} | ["251N1.1", "1", "LICENSE CARD FOR TWINCAT 3.1", "EL6070-0033", "EL6070-0033", "Beckhoff Automation GmbH & Co. KG", "UL NRAQ.E172151\n_"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 22 | +BASIC | 61 | 251N1.1 | 1 | TwinCAT 3 PLC/NC PTP 10 axes, platform level 40 (Performance) | Beckhoff Automation GmbH & Co. KG | TC1250-0140 | TC1250-0140 |  | {"col_6": ""} | ["251N1.1", "1", "TwinCAT 3 PLC/NC PTP 10 axes, platform level 40 (Performance)", "TC1250-0140", "TC1250-0140", "Beckhoff Automation GmbH & Co. KG", ""]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 22 | +BASIC | 62 | 251N2 | 1 | DIGITAL INPUT, 16 X 24VDC | Beckhoff Automation GmbH & Co. KG | EL1809 | EL1809 |  | {"col_6": "UL NRAQ.E172151\n_"} | ["251N2", "1", "DIGITAL INPUT, 16 X 24VDC", "EL1809", "EL1809", "Beckhoff Automation GmbH & Co. KG", "UL NRAQ.E172151\n_"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 22 | +BASIC | 63 | 251N2.1 | 1 | DIGITAL OUTPUT, 16 X 24DC, 0,5A | Beckhoff Automation GmbH & Co. KG | EL2809 | EL2809 |  | {"col_6": "UL NRAQ.E172151\n_"} | ["251N2.1", "1", "DIGITAL OUTPUT, 16 X 24DC, 0,5A", "EL2809", "EL2809", "Beckhoff Automation GmbH & Co. KG", "UL NRAQ.E172151\n_"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 22 | +BASIC | 64 | 251N3 | 1 | ANALOG INPUT, 2 X U, 0...10V | Beckhoff Automation GmbH & Co. KG | EL3062 | EL3062 |  | {"col_6": "UL NRAQ.E172151\n_"} | ["251N3", "1", "ANALOG INPUT, 2 X U, 0...10V", "EL3062", "EL3062", "Beckhoff Automation GmbH & Co. KG", "UL NRAQ.E172151\n_"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 22 | +BASIC | 65 | 251W1 | 1 | PATCH CABLE, CAT 5E, FTP, LSZH, 1,5M, BLUE | INTRONICS | IB 7651 | IB 7651 |  | {"col_6": ""} | ["251W1", "1", "PATCH CABLE, CAT 5E, FTP, LSZH, 1,5M, BLUE", "IB 7651", "IB 7651", "INTRONICS", ""]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 22 | +BASIC | 66 | 252S7 | 1 | PROVIDED BY CUSTOMER |  |  |  |  | {"col_6": ""} | ["252S7", "1", "PROVIDED BY CUSTOMER", "", "", "", ""]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 22 | +BASIC | 67 | 252W7 | 1 | PROVIDED BY CUSTOMER |  |  |  |  | {"col_6": ""} | ["252W7", "1", "PROVIDED BY CUSTOMER", "", "", "", ""]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 22 | +BASIC | 68 | 253B2 | 1 | INDUCTIVE SENSOR, 12…48VDC, Ø8MM, SN 2,5MM, PNP, M12 CONNECTOR, LED, IP67 | SCHNEIDER ELECTRIC | XS608B1PAM12 | XS608B1PAM12 |  | {"col_6": "UL NRKH.E164869\n_"} | ["253B2", "1", "INDUCTIVE SENSOR, 12…48VDC, Ø8MM, SN 2,5MM, PNP, M12 CONNECTOR, LED, IP67", "XS608B1PAM12", "XS608B1PAM12", "SCHNEIDER ELECTRIC", "UL NRKH.E164869\n_"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 22 | +BASIC | 69 | 253S1 | 1 | PROVIDED BY CUSTOMER |  |  |  |  | {"col_6": ""} | ["253S1", "1", "PROVIDED BY CUSTOMER", "", "", "", ""]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 22 | +BASIC | 70 | 253W1 | 3 | CONTROL CABLE, PVC, CORES NUMBERED, 3G1 | LAPP BENELUX | ÖLFLEX CONTROL TM | 281803 |  | {"col_6": "UL AVLV2.E63634\n_"} | ["253W1", "3", "CONTROL CABLE, PVC, CORES NUMBERED, 3G1", "ÖLFLEX CONTROL TM", "281803", "LAPP BENELUX", "UL AVLV2.E63634\n_"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 22 | +BASIC | 71 | 253W2 | 1 | M12 PLUG RECTANGULAR, 4P, FEMALE, WITH CABLE, PUR, 4X0,34 BLACK, 5M, OPEN END | Murrelektronik B.V. | 7000-12341-6340500 | 7000-12341-6340500 |  | {"col_6": "E325311"} | ["253W2", "1", "M12 PLUG RECTANGULAR, 4P, FEMALE, WITH CABLE, PUR, 4X0,34 BLACK, 5M, OPEN END", "7000-12341-6340500", "7000-12341-6340500", "Murrelektronik B.V.", "E325311"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 22 | +BASIC | 72 | 254K5 | 1 | CONTACTOR, 7,5KW, 3P + 1NO + 1NC, 24VDC, SCREW CONNECTION, S0 | SIEMENS | 3RT20 25-1BB40 | 3RT20 25-1BB40 |  | {"col_6": "UL NLDX.E31519\n_"} | ["254K5", "1", "CONTACTOR, 7,5KW, 3P + 1NO + 1NC, 24VDC, SCREW CONNECTION, S0", "3RT20 25-1BB40", "3RT20 25-1BB40", "SIEMENS", "UL NLDX.E31519\n_"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 22 | +BASIC | 73 |  | 1 | SOLID-STATE RELAY, 1NO, 24VDC, SCREW CONNECTION | FINDER | 38.31.7.024.9024 | 38.31.7.024.9024 |  | {"col_6": ""} | ["", "1", "SOLID-STATE RELAY, 1NO, 24VDC, SCREW CONNECTION", "38.31.7.024.9024", "38.31.7.024.9024", "FINDER", ""]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 23 | +BASIC | 74 | 254K7 | 1 | SOLID-STATE RELAY, 1NO, 24VDC, SCREW CONNECTION | FINDER | 38.31.7.024.9024 | 38.31.7.024.9024 |  | {"col_6": "UL NLDX.E81856\n_"} | ["254K7", "1", "SOLID-STATE RELAY, 1NO, 24VDC, SCREW CONNECTION", "38.31.7.024.9024", "38.31.7.024.9024", "FINDER", "UL NLDX.E81856\n_"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 23 | +BASIC | 75 | 255H1 | 1 | INDICATOR, IP65, GREEN | EAO FIGROEN | 704.006.518 | 704.006.518 |  | {"col_6": ""} | ["255H1", "1", "INDICATOR, IP65, GREEN", "704.006.518", "704.006.518", "EAO FIGROEN", ""]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 23 | +BASIC | 76 | 255H1 | 1 | LED, 24VAC/DC, 15MA, BA9S, GREEN | EAO FIGROEN | 10.2513.1145 | 10.2513.1145 |  | {"col_6": ""} | ["255H1", "1", "LED, 24VAC/DC, 15MA, BA9S, GREEN", "10.2513.1145", "10.2513.1145", "EAO FIGROEN", ""]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 23 | +BASIC | 77 | 255H2 | 1 | INDICATOR, IP65, RED | EAO FIGROEN | 704.006.218 | 704.006.218 |  | {"col_6": ""} | ["255H2", "1", "INDICATOR, IP65, RED", "704.006.218", "704.006.218", "EAO FIGROEN", ""]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 23 | +BASIC | 78 | 255H2 | 1 | LED, 24VAC/DC, 15MA, BA9S, RED | EAO FIGROEN | 10.2513.1142 | 10.2513.1142 |  | {"col_6": ""} | ["255H2", "1", "LED, 24VAC/DC, 15MA, BA9S, RED", "10.2513.1142", "10.2513.1142", "EAO FIGROEN", ""]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 23 | +BASIC | 79 | 255P3 | 1 | BUZZER, 24VDC, SOLDER/PLUG-IN TERMINAL, BLACK, IP40 | EAO FIGROEN | 14-810.910 | 14-810.910 |  | {"col_6": ""} | ["255P3", "1", "BUZZER, 24VDC, SOLDER/PLUG-IN TERMINAL, BLACK, IP40", "14-810.910", "14-810.910", "EAO FIGROEN", ""]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 23 | +BASIC | 80 | 255R5 | 1 | RESISTANCE, 12KΩ, 0,25W, 1% | FARNELL | 9341234 | 9341234 |  | {"col_6": ""} | ["255R5", "1", "RESISTANCE, 12KΩ, 0,25W, 1%", "9341234", "9341234", "FARNELL", ""]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 23 | +BASIC | 81 | 255R5.1 | 1 | RESISTANCE, 12KΩ, 0,25W, 1% | FARNELL | 9341234 | 9341234 |  | {"col_6": ""} | ["255R5.1", "1", "RESISTANCE, 12KΩ, 0,25W, 1%", "9341234", "9341234", "FARNELL", ""]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 23 | +BASIC | 82 | 255W1 | 3 | CONTROL CABLE, PVC, CORES NUMBERED, 7G1 | LAPP BENELUX | ÖLFLEX CONTROL TM | 281807 |  | {"col_6": "UL AVLV2.E63634\n_"} | ["255W1", "3", "CONTROL CABLE, PVC, CORES NUMBERED, 7G1", "ÖLFLEX CONTROL TM", "281807", "LAPP BENELUX", "UL AVLV2.E63634\n_"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 23 | +BASIC | 83 | 256A2 | 1 | CONVERTER, 13...25VDC, 10VDC, 0,2A | CONTA-CLIP NEDERLAND | VSTAB 10 | 6140.2 |  | {"col_6": ""} | ["256A2", "1", "CONVERTER, 13...25VDC, 10VDC, 0,2A", "VSTAB 10", "6140.2", "CONTA-CLIP NEDERLAND", ""]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 23 | +BASIC | 84 | 256A2 | 1 | LABEL, WHITE, 40X25MM | PHOENIX CONTACT | EML (40X25)R | 0818027 |  | {"col_6": "UL PGJI2.MH48542\n_"} | ["256A2", "1", "LABEL, WHITE, 40X25MM", "EML (40X25)R", "0818027", "PHOENIX CONTACT", "UL PGJI2.MH48542\n_"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 23 | +BASIC | 85 | 256R1 | 1 | RESISTANCE, 1K, 0,25W, 1% | FARNELL | 9341102 | 9341102 |  | {"col_6": ""} | ["256R1", "1", "RESISTANCE, 1K, 0,25W, 1%", "9341102", "9341102", "FARNELL", ""]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 23 | +BASIC | 86 | 256R1.1 | 1 | RESISTANCE, 1K, 0,25W, 1% | FARNELL | 9341102 | 9341102 |  | {"col_6": ""} | ["256R1.1", "1", "RESISTANCE, 1K, 0,25W, 1%", "9341102", "9341102", "FARNELL", ""]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 23 | +BASIC | 87 | 256R2 | 1 | PROVIDED BY CUSTOMER |  |  |  |  | {"col_6": ""} | ["256R2", "1", "PROVIDED BY CUSTOMER", "", "", "", ""]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 23 | +BASIC | 88 | 256S1 | 1 | PROVIDED BY CUSTOMER |  |  |  |  | {"col_6": ""} | ["256S1", "1", "PROVIDED BY CUSTOMER", "", "", "", ""]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 23 | +BASIC | 89 | 256W1 | 1 | M12 CONNECTOR STRAIGHT, 4P FEMALE, WITH CABLE, 4X0,34, PUR, BLACK, 3M, OPEN END | PHOENIX CONTACT | SAC-4P- 3,0-PUR/M12FS | 1668111 |  | {"col_6": "UL CYJV.E221474\n_"} | ["256W1", "1", "M12 CONNECTOR STRAIGHT, 4P FEMALE, WITH CABLE, 4X0,34, PUR, BLACK, 3M, OPEN END", "SAC-4P- 3,0-PUR/M12FS", "1668111", "PHOENIX CONTACT", "UL CYJV.E221474\n_"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 23 | +BASIC | 90 | 256W2 | 3 | DATA CABLE, PVC, COLORED CORES, 3x0,34 | LAPP BENELUX | UNITRONIC LIYY | 0028403 |  | {"col_6": ""} | ["256W2", "3", "DATA CABLE, PVC, COLORED CORES, 3x0,34", "UNITRONIC LIYY", "0028403", "LAPP BENELUX", ""]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 23 | +BASIC | 91 | SH | 1 | SHIELD CONNECTION, 3...8MM | PHOENIX CONTACT | SK 8 | 3025163 |  | {"col_6": ""} | ["SH", "1", "SHIELD CONNECTION, 3...8MM", "SK 8", "3025163", "PHOENIX CONTACT", ""]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 23 | +BASIC | 92 | SH | 1 | SUPPORT | PHOENIX CONTACT | AB-SK/E | 3026476 |  | {"col_6": ""} | ["SH", "1", "SUPPORT", "AB-SK/E", "3026476", "PHOENIX CONTACT", ""]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 23 | +BASIC | 93 | X0 | 1 | END COVER | PHOENIX CONTACT | D-ST 4 | 3030420 |  | {"col_6": "UL UL94 V0\n_"} | ["X0", "1", "END COVER", "D-ST 4", "3030420", "PHOENIX CONTACT", "UL UL94 V0\n_"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 23 | +BASIC | 94 | X0 | 1 | END BRACKET | PHOENIX CONTACT | E/NS 35 N | 0800886 |  | {"col_6": "UL UL94 V0\n_"} | ["X0", "1", "END BRACKET", "E/NS 35 N", "0800886", "PHOENIX CONTACT", "UL UL94 V0\n_"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 23 | +BASIC | 95 | X0 | 4 | TERMINAL, PUSH-IN-CONNECTION | PHOENIX CONTACT | PT 4 | 3211757 |  | {"col_6": "UL XCFR2.E60425\n_"} | ["X0", "4", "TERMINAL, PUSH-IN-CONNECTION", "PT 4", "3211757", "PHOENIX CONTACT", "UL XCFR2.E60425\n_"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 23 | +BASIC | 96 | X0 | 2 | TERMINAL, GREEN/YELLOW, PUSH-IN-CONNECTION | PHOENIX CONTACT | PT 4-PE | 3211766 |  | {"col_6": "UL XCFR2.E60425\n_"} | ["X0", "2", "TERMINAL, GREEN/YELLOW, PUSH-IN-CONNECTION", "PT 4-PE", "3211766", "PHOENIX CONTACT", "UL XCFR2.E60425\n_"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 23 | +BASIC | 97 | X1 | 1 | END COVER | PHOENIX CONTACT | D-ST 2,5 | 3030417 |  | {"col_6": "UL UL94 V0\n_"} | ["X1", "1", "END COVER", "D-ST 2,5", "3030417", "PHOENIX CONTACT", "UL UL94 V0\n_"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 23 | +BASIC | 98 | X1 | 1 | END BRACKET | PHOENIX CONTACT | E/NS 35 N | 0800886 |  | {"col_6": "UL UL94 V0\n_"} | ["X1", "1", "END BRACKET", "E/NS 35 N", "0800886", "PHOENIX CONTACT", "UL UL94 V0\n_"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 23 | +BASIC | 99 | X1 | 1 | CROSS CONNECTOR/JUMPER, RED, FIVE TIMES | PHOENIX CONTACT | FBS 5-5 | 3030190 |  | {"col_6": "NA"} | ["X1", "1", "CROSS CONNECTOR/JUMPER, RED, FIVE TIMES", "FBS 5-5", "3030190", "PHOENIX CONTACT", "NA"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 23 | +BASIC | 100 | X1 | 1 | CROSS CONNECTOR/JUMPER, BLUE, FIVE TIMES | PHOENIX CONTACT | FBS 5-5 BU | 3036903 |  | {"col_6": ""} | ["X1", "1", "CROSS CONNECTOR/JUMPER, BLUE, FIVE TIMES", "FBS 5-5 BU", "3036903", "PHOENIX CONTACT", ""]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 23 | +BASIC | 101 | X1.1 | 1 | END COVER | PHOENIX CONTACT | D-ST 2,5 | 3030417 |  | {"col_6": "UL UL94 V0\n_"} | ["X1.1", "1", "END COVER", "D-ST 2,5", "3030417", "PHOENIX CONTACT", "UL UL94 V0\n_"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 23 | +BASIC | 102 | X1.1 | 1 | END BRACKET | PHOENIX CONTACT | E/NS 35 N | 0800886 |  | {"col_6": "UL UL94 V0\n_"} | ["X1.1", "1", "END BRACKET", "E/NS 35 N", "0800886", "PHOENIX CONTACT", "UL UL94 V0\n_"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 23 | +BASIC | 103 | X1.1 | 4 | TERMINAL, PUSH-IN-CONNECTION, CONNECTOR CONNECTION | PHOENIX CONTACT | PT 2,5/1P | 3210033 |  | {"col_6": "UL XCFR2.E60425\n_"} | ["X1.1", "4", "TERMINAL, PUSH-IN-CONNECTION, CONNECTOR CONNECTION", "PT 2,5/1P", "3210033", "PHOENIX CONTACT", "UL XCFR2.E60425\n_"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 23 | +BASIC | 104 | X1 | 6 | TERMINAL, PUSH-IN-CONNECTION, CONNECTOR CONNECTION | PHOENIX CONTACT | PT 2,5/1P | 3210033 |  | {"col_6": "UL XCFR2.E60425\n_"} | ["X1", "6", "TERMINAL, PUSH-IN-CONNECTION, CONNECTOR CONNECTION", "PT 2,5/1P", "3210033", "PHOENIX CONTACT", "UL XCFR2.E60425\n_"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 23 | +BASIC | 105 | X1 | 3 | CONNECTOR, FEMALE, PUSH-IN-CONNECTION, 2 POLE | PHOENIX CONTACT | PP-H2,5/2 | 3209879 |  | {"col_6": "UL XCFR2.E60425\n_"} | ["X1", "3", "CONNECTOR, FEMALE, PUSH-IN-CONNECTION, 2 POLE", "PP-H2,5/2", "3209879", "PHOENIX CONTACT", "UL XCFR2.E60425\n_"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 23 | +BASIC | 106 | X1 | 3 | LOCK | PHOENIX CONTACT | PRZ | 3040614 |  | {"col_6": ""} | ["X1", "3", "LOCK", "PRZ", "3040614", "PHOENIX CONTACT", ""]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 23 | +BASIC | 107 | X2 | 2 | 2 STACK TERMINAL, GREEN/YELLOW, PUSH-IN-CONNECTION | PHOENIX CONTACT | PTTB 2,5-PE | 3210596 |  | {"col_6": "UL XCFR2.E60425\n_"} | ["X2", "2", "2 STACK TERMINAL, GREEN/YELLOW, PUSH-IN-CONNECTION", "PTTB 2,5-PE", "3210596", "PHOENIX CONTACT", "UL XCFR2.E60425\n_"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 23 | +BASIC | 108 | X2 | 1 | END COVER | PHOENIX CONTACT | D-PTTB 2,5 | 3211634 |  | {"col_6": "UL UL94 V0\n_"} | ["X2", "1", "END COVER", "D-PTTB 2,5", "3211634", "PHOENIX CONTACT", "UL UL94 V0\n_"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 23 | +BASIC | 109 | X2 | 1 | END BRACKET | PHOENIX CONTACT | E/NS 35 N | 0800886 |  | {"col_6": "UL UL94 V0\n_"} | ["X2", "1", "END BRACKET", "E/NS 35 N", "0800886", "PHOENIX CONTACT", "UL UL94 V0\n_"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 23 | +BASIC | 110 |  | 1 | CROSS CONNECTOR/JUMPER, BLUE, FOURFOLD | PHOENIX CONTACT | FBS4-5BU | 3036893 |  | {"col_6": ""} | ["", "1", "CROSS CONNECTOR/JUMPER, BLUE, FOURFOLD", "FBS4-5BU", "3036893", "PHOENIX CONTACT", ""]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 24 | +BASIC | 111 | X2 | 11 | 2 STACK TERMINAL, PUSH-IN-CONNECTION | PHOENIX CONTACT | PTTB 2,5 | 3210567 |  | {"col_6": "UL XCFR2.E60425\n_"} | ["X2", "11", "2 STACK TERMINAL, PUSH-IN-CONNECTION", "PTTB 2,5", "3210567", "PHOENIX CONTACT", "UL XCFR2.E60425\n_"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 24 | +BASIC | 112 | X3 | 1 | 2 STACK TERMINAL, GREEN/YELLOW, PUSH-IN-CONNECTION | PHOENIX CONTACT | PTTB 2,5-PE | 3210596 |  | {"col_6": "UL XCFR2.E60425\n_"} | ["X3", "1", "2 STACK TERMINAL, GREEN/YELLOW, PUSH-IN-CONNECTION", "PTTB 2,5-PE", "3210596", "PHOENIX CONTACT", "UL XCFR2.E60425\n_"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 24 | +BASIC | 113 | X3 | 1 | END COVER | PHOENIX CONTACT | D-PTTB 2,5 | 3211634 |  | {"col_6": "UL UL94 V0\n_"} | ["X3", "1", "END COVER", "D-PTTB 2,5", "3211634", "PHOENIX CONTACT", "UL UL94 V0\n_"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 24 | +BASIC | 114 | X3 | 1 | END BRACKET | PHOENIX CONTACT | E/NS 35 N | 0800886 |  | {"col_6": "UL UL94 V0\n_"} | ["X3", "1", "END BRACKET", "E/NS 35 N", "0800886", "PHOENIX CONTACT", "UL UL94 V0\n_"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 24 | +BASIC | 115 | X3 | 1 | CROSS CONNECTOR/JUMPER, BLUE, TWOFOLD | PHOENIX CONTACT | FBS 2-5 BU | 3036877 |  | {"col_6": ""} | ["X3", "1", "CROSS CONNECTOR/JUMPER, BLUE, TWOFOLD", "FBS 2-5 BU", "3036877", "PHOENIX CONTACT", ""]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 24 | +BASIC | 116 | X3 | 2 | 2 STACK TERMINAL, PUSH-IN-CONNECTION | PHOENIX CONTACT | PTTB 2,5 | 3210567 |  | {"col_6": "UL XCFR2.E60425\n_"} | ["X3", "2", "2 STACK TERMINAL, PUSH-IN-CONNECTION", "PTTB 2,5", "3210567", "PHOENIX CONTACT", "UL XCFR2.E60425\n_"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 24 | +BASIC | 117 | X4 | 1 | POTENTIAL DISTRIBUTORS, 16 POLE, 8 STACK, RED, PUSH-IN-CONNECTION | Phoenix Contact | PTRVB 8-PV /RD | 3270226 |  | {"col_6": ""} | ["X4", "1", "POTENTIAL DISTRIBUTORS, 16 POLE, 8 STACK, RED, PUSH-IN-CONNECTION", "PTRVB 8-PV /RD", "3270226", "Phoenix Contact", ""]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 24 | +BASIC | 118 | X4 | 1 | POTENTIAL DISTRIBUTORS, 16 POLE, 8 STACK, BLUE, PUSH-IN-CONNECTION | Phoenix Contact | PTRVB 8-PV /BU | 3270227 |  | {"col_6": ""} | ["X4", "1", "POTENTIAL DISTRIBUTORS, 16 POLE, 8 STACK, BLUE, PUSH-IN-CONNECTION", "PTRVB 8-PV /BU", "3270227", "Phoenix Contact", ""]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 24 | +BASIC | 119 | X4 | 2 | END COVER, POTENTIAL DISTRIBUTORS, WHITE | Phoenix Contact | D-PTRV 8 WH | 3270154 |  | {"col_6": ""} | ["X4", "2", "END COVER, POTENTIAL DISTRIBUTORS, WHITE", "D-PTRV 8 WH", "3270154", "Phoenix Contact", ""]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 24 | +BASIC | 120 | X4 | 1 | END BRACKET | PHOENIX CONTACT | E/NS 35 N | 0800886 |  | {"col_6": "UL UL94 V0\n_"} | ["X4", "1", "END BRACKET", "E/NS 35 N", "0800886", "PHOENIX CONTACT", "UL UL94 V0\n_"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 24 | +BASIC | 121 | X5 | 2 | END BRACKET | PHOENIX CONTACT | E/NS 35 N | 0800886 |  | {"col_6": "UL UL94 V0\n_"} | ["X5", "2", "END BRACKET", "E/NS 35 N", "0800886", "PHOENIX CONTACT", "UL UL94 V0\n_"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 24 | +BASIC | 122 | X5 | 2 | CROSS CONNECTOR/JUMPER, RED, TWOFOLD | PHOENIX CONTACT | FBS 2-6 | 3030336 |  | {"col_6": ""} | ["X5", "2", "CROSS CONNECTOR/JUMPER, RED, TWOFOLD", "FBS 2-6", "3030336", "PHOENIX CONTACT", ""]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 24 | +BASIC | 123 | X5 | 1 | END COVER | PHOENIX CONTACT | D-ST 4 | 3030420 |  | {"col_6": "UL UL94 V0\n_"} | ["X5", "1", "END COVER", "D-ST 4", "3030420", "PHOENIX CONTACT", "UL UL94 V0\n_"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 24 | +BASIC | 124 | X5 | 4 | COMPONENT CONTACT PIN | PHOENIX CONTACT | P-CO | 3036796 |  | {"col_6": "UL UL94 V0\n_"} | ["X5", "4", "COMPONENT CONTACT PIN", "P-CO", "3036796", "PHOENIX CONTACT", "UL UL94 V0\n_"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 24 | +BASIC | 125 | X5 | 4 | DISCONNECT TERMINAL, PUSH-IN-CONNECTION | PHOENIX CONTACT | PT 4-TG | 3211922 |  | {"col_6": "UL XCFR2.E60425\n_"} | ["X5", "4", "DISCONNECT TERMINAL, PUSH-IN-CONNECTION", "PT 4-TG", "3211922", "PHOENIX CONTACT", "UL XCFR2.E60425\n_"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 24 | +BASIC | 126 | XS0 | 1 | PANEL MOUNTING BASE, SINGLE LOCKING LATCH | HARTING | 09 20 010 0301 | 09 20 010 0301 |  | {"col_6": "UL UL94 V0\n_"} | ["XS0", "1", "PANEL MOUNTING BASE, SINGLE LOCKING LATCH", "09 20 010 0301", "09 20 010 0301", "HARTING", "UL UL94 V0\n_"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 24 | +BASIC | 127 | XS0 | 1 | CONNECTOR SCREW CONNECTION, 10 POLE +PE, FEMALE | HARTING | 09 20 010 2812 | 09 20 010 2812 |  | {"col_6": "UL ECBT2.E235076\n_"} | ["XS0", "1", "CONNECTOR SCREW CONNECTION, 10 POLE +PE, FEMALE", "09 20 010 2812", "09 20 010 2812", "HARTING", "UL ECBT2.E235076\n_"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 24 | +BASIC | 128 | XS0 | 1 | CONNECTOR SCREW CONNECTION, 10 POLE +PE, MALE | HARTING | 09 20 010 2612 | 09 20 010 2612 |  | {"col_6": "UL ECBT2.E235076\n_"} | ["XS0", "1", "CONNECTOR SCREW CONNECTION, 10 POLE +PE, MALE", "09 20 010 2612", "09 20 010 2612", "HARTING", "UL ECBT2.E235076\n_"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 24 | +BASIC | 129 | XS0 | 1 | SLEEVE HOUSING, SINGLE LOCKING LATCH, M20 | HARTING | 19 20 010 1540 | 19 20 010 1540 |  | {"col_6": "1434992"} | ["XS0", "1", "SLEEVE HOUSING, SINGLE LOCKING LATCH, M20", "19 20 010 1540", "19 20 010 1540", "HARTING", "1434992"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 24 | +BASIC | 130 | XS0 | 1 | BLIND PLUGS, M20X1,5, POLYAMIDE, -40...100°C, BLACK | HUMMEL | V-N-FS M20X1,5 ZWART _ _ | 1.251.2001.50 |  | {"col_6": ""} | ["XS0", "1", "BLIND PLUGS, M20X1,5, POLYAMIDE, -40...100°C, BLACK", "V-N-FS M20X1,5 ZWART\n_ _", "1.251.2001.50", "HUMMEL", ""]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 24 | +BASIC | 131 | CABINET | 1 | Montagebak Maxx E-Guard |  | Montagebak Maxx E-Guard | SOM.SH E-BAK |  | {"col_6": ""} | ["CABINET", "1", "Montagebak Maxx E-Guard", "Montagebak Maxx E-Guard", "SOM.SH E-BAK", "", ""]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 24 | +BASIC | 132 | CABINET | 1 | CABLE GLAND, M40X1,5, 19…28MM, POLYAMIDE, -40...100°C, IP68 | LAPP BENELUX | 53111050 | 53111050 |  | {"col_6": "UL QCRV.E79903\n_"} | ["CABINET", "1", "CABLE GLAND, M40X1,5, 19…28MM, POLYAMIDE, -40...100°C, IP68", "53111050", "53111050", "LAPP BENELUX", "UL QCRV.E79903\n_"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 24 | +BASIC | 133 | CABINET | 1 | LOCK NUT, M40X1,5, POLYAMIDE, -40...100°C | LAPP BENELUX | 53119050 | 53119050 |  | {"col_6": "UL QCRV.E79903\n_"} | ["CABINET", "1", "LOCK NUT, M40X1,5, POLYAMIDE, -40...100°C", "53119050", "53119050", "LAPP BENELUX", "UL QCRV.E79903\n_"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 24 | +BASIC | 134 | CABINET | 1 | CABLE GLAND, M16X1,5, 4,5…10MM, POLYAMIDE, IP68 | LAPP BENELUX | 53111010 | 53111010 |  | {"col_6": "UL QCRV.E79903\n_"} | ["CABINET", "1", "CABLE GLAND, M16X1,5, 4,5…10MM, POLYAMIDE, IP68", "53111010", "53111010", "LAPP BENELUX", "UL QCRV.E79903\n_"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 24 | +BASIC | 135 | CABINET | 1 | LOCK NUT, M16X1,5, POLYAMIDE | LAPP BENELUX | 53119010 | 53119010 |  | {"col_6": "UL QCRV.E79903\n_"} | ["CABINET", "1", "LOCK NUT, M16X1,5, POLYAMIDE", "53119010", "53119010", "LAPP BENELUX", "UL QCRV.E79903\n_"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 24 | +BASIC | 136 | CABINET | 1 | CABLE GLAND, M20X1,5, 7…13MM, POLYAMIDE, IP68 | LAPP BENELUX | 53111020 | 53111020 |  | {"col_6": "UL QCRV.E79903\n_"} | ["CABINET", "1", "CABLE GLAND, M20X1,5, 7…13MM, POLYAMIDE, IP68", "53111020", "53111020", "LAPP BENELUX", "UL QCRV.E79903\n_"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 24 | +BASIC | 137 | CABINET | 1 | LOCK NUT, M20X1,5, POLYAMIDE | LAPP BENELUX | 53119020 | 53119020 |  | {"col_6": "UL QCRV.E79903\n_"} | ["CABINET", "1", "LOCK NUT, M20X1,5, POLYAMIDE", "53119020", "53119020", "LAPP BENELUX", "UL QCRV.E79903\n_"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 24 | +BASIC | 138 | CABINET | 6 | STICKER, 60X20, WITH TEXT | RS COMPONENTS | 776-0932 | 776-0932 |  | {"col_6": ""} | ["CABINET", "6", "STICKER, 60X20, WITH TEXT", "776-0932", "776-0932", "RS COMPONENTS", ""]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 24 | +BASIC | 139 | CABINET | 2 | STICKER, 127X89, WITH WARNING | RASTER PRODUKTS BV | PPS0305W2100 | 847-9766 |  | {"col_6": ""} | ["CABINET", "2", "STICKER, 127X89, WITH WARNING", "PPS0305W2100", "847-9766", "RASTER PRODUKTS BV", ""]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 24 | +BASIC | 140 | CABINET | 1 | FOLDING BOX, 206X146X140 | MANUTAN | DOOS 206X146X140 | 92002555 |  | {"col_6": ""} | ["CABINET", "1", "FOLDING BOX, 206X146X140", "DOOS 206X146X140", "92002555", "MANUTAN", ""]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 24 | +BASIC | 141 | CABINET | 1 | WIRE CHANNEL, B=50MM | LEGRAND / VAN GEEL | CM000011 | CM000011 |  | {"col_6": ""} | ["CABINET", "1", "WIRE CHANNEL, B=50MM", "CM000011", "CM000011", "LEGRAND / VAN GEEL", ""]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 24 | +BASIC | 142 | CABINET | 4 | BRACKETS FOR WIRE CHANNEL | LEGRAND / VAN GEEL | CM586050 | CM586050 |  | {"col_6": ""} | ["CABINET", "4", "BRACKETS FOR WIRE CHANNEL", "CM586050", "CM586050", "LEGRAND / VAN GEEL", ""]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 32 | +VISION/150 | 143 | 161M1 | 1 | STEPPER MOTOR, 24...50VDC, 5A | Beckhoff Automation GmbH & Co. KG | AS1050-0120 | AS1050-0120 |  | {"col_6": ""} | ["161M1", "1", "STEPPER MOTOR, 24...50VDC, 5A", "AS1050-0120", "AS1050-0120", "Beckhoff Automation GmbH & Co. KG", ""]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 32 | +VISION/150 | 144 | 161W2 | 1 | ENCODER CABLE, 3M | Beckhoff Automation GmbH & Co. KG | ZK4000-5100-2030 | ZK4000-5100-2030 |  | {"col_6": ""} | ["161W2", "1", "ENCODER CABLE, 3M", "ZK4000-5100-2030", "ZK4000-5100-2030", "Beckhoff Automation GmbH & Co. KG", ""]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 32 | +VISION/150 | 145 | 161W3 | 1 | MOTOR CABLE, 3M | Beckhoff Automation GmbH & Co. KG | ZK4000-6200-2030 | ZK4000-6200-2030 |  | {"col_6": ""} | ["161W3", "1", "MOTOR CABLE, 3M", "ZK4000-6200-2030", "ZK4000-6200-2030", "Beckhoff Automation GmbH & Co. KG", ""]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 32 | +VISION/150 | 146 | 250B3 | 1 | INDUCTIVE SENSOR, 12…48VDC, Ø8MM, SN 2,5MM, PNP, M12 CONNECTOR, LED, IP67 | SCHNEIDER ELECTRIC | XS608B1PAM12 | XS608B1PAM12 |  | {"col_6": "UL NRKH.E164869\n_"} | ["250B3", "1", "INDUCTIVE SENSOR, 12…48VDC, Ø8MM, SN 2,5MM, PNP, M12 CONNECTOR, LED, IP67", "XS608B1PAM12", "XS608B1PAM12", "SCHNEIDER ELECTRIC", "UL NRKH.E164869\n_"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 32 | +VISION/150 | 147 | 250S1 | 1 | OPTICAL SENSOR, 10...30VDC, M8 CONNECTOR | DATALOGIC OPTIC ELECTRONICS BV | S3Z-PR-5-FG01-PD | 95B010150 |  | {"col_6": ""} | ["250S1", "1", "OPTICAL SENSOR, 10...30VDC, M8 CONNECTOR", "S3Z-PR-5-FG01-PD", "95B010150", "DATALOGIC OPTIC ELECTRONICS BV", ""]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 32 | +VISION/150 | 148 | 250W1 | 1 | M8 CONNECTOR STRAIGHT, 4P FEMALE, WITH CABLE, 4X0,25, PUR, BLACK, 5M, OPEN END | PHOENIX CONTACT | SAC-4P- 5,0-PUR/M 8FS | 1681868 |  | {"col_6": "UL CYJV.E221474\n_"} | ["250W1", "1", "M8 CONNECTOR STRAIGHT, 4P FEMALE, WITH CABLE, 4X0,25, PUR, BLACK, 5M, OPEN END", "SAC-4P- 5,0-PUR/M 8FS", "1681868", "PHOENIX CONTACT", "UL CYJV.E221474\n_"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 32 | +VISION/150 | 149 | 250W1.1 | 1 | M8 CONNECTOR STRAIGHT, 4P FEMALE, WITH CABLE, 4X0,25, PUR, BLACK, 5M, OPEN END | PHOENIX CONTACT | SAC-4P- 5,0-PUR/M 8FS | 1681868 |  | {"col_6": "UL CYJV.E221474\n_"} | ["250W1.1", "1", "M8 CONNECTOR STRAIGHT, 4P FEMALE, WITH CABLE, 4X0,25, PUR, BLACK, 5M, OPEN END", "SAC-4P- 5,0-PUR/M 8FS", "1681868", "PHOENIX CONTACT", "UL CYJV.E221474\n_"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 32 | +VISION/150 | 150 | 250W3 | 1 | M12 PLUG RECTANGULAR, 4P, FEMALE, WITH CABLE, PUR, 4X0,34 BLACK, 5M, OPEN END | Murrelektronik B.V. | 7000-12341-6340500 | 7000-12341-6340500 |  | {"col_6": "E325311"} | ["250W3", "1", "M12 PLUG RECTANGULAR, 4P, FEMALE, WITH CABLE, PUR, 4X0,34 BLACK, 5M, OPEN END", "7000-12341-6340500", "7000-12341-6340500", "Murrelektronik B.V.", "E325311"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 32 | +VISION/150 | 151 | SH | 1 | SHIELD CONNECTION, 3...8MM | PHOENIX CONTACT | SK 8 | 3025163 |  | {"col_6": ""} | ["SH", "1", "SHIELD CONNECTION, 3...8MM", "SK 8", "3025163", "PHOENIX CONTACT", ""]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 35 |  | 152 | 150A2 | 1 | LASER SCANNER HAND, LINE, USB |  | SHREDDER HAND SCANNER | SHREDDER HAND SCANNER |  | {} | ["150A2", "1", "LASER SCANNER HAND, LINE, USB", "SHREDDER HAND SCANNER", "SHREDDER HAND SCANNER", ""]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 35 |  | 153 | 150A4 | 1 | ETHERNET SWITCH, 24VDC, FIVE TIMES, RJ45, 10/100 MBIT/S | ADVENTECH EUROPA GMBH | EKI-2525-AE | EKI-2525-BE |  | {} | ["150A4", "1", "ETHERNET SWITCH, 24VDC, FIVE TIMES, RJ45, 10/100 MBIT/S", "EKI-2525-AE", "EKI-2525-BE", "ADVENTECH EUROPA GMBH"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 35 |  | 154 | 150W1 | 1 | USB CABLE, BLACK, MALE TYPE A, MALE TYPE B, SHIELDED, 0,5M | INTRONICS | SB 2398 | SB 2398 |  | {} | ["150W1", "1", "USB CABLE, BLACK, MALE TYPE A, MALE TYPE B, SHIELDED, 0,5M", "SB 2398", "SB 2398", "INTRONICS"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 35 |  | 155 | 150W2 | 1 | USB CABLE, BLACK, MALE TYPE A, MALE TYPE B, SHIELDED, 0,5M | INTRONICS | SB 2398 | SB 2398 |  | {} | ["150W2", "1", "USB CABLE, BLACK, MALE TYPE A, MALE TYPE B, SHIELDED, 0,5M", "SB 2398", "SB 2398", "INTRONICS"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 35 |  | 156 | 150W4 | 1 | USB CABLE, BLACK, MALE TYPE A, MALE TYPE B, SHIELDED, 0,5M | INTRONICS | SB 2398 | SB 2398 |  | {} | ["150W4", "1", "USB CABLE, BLACK, MALE TYPE A, MALE TYPE B, SHIELDED, 0,5M", "SB 2398", "SB 2398", "INTRONICS"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 35 |  | 157 | 150W5 | 1 | PATCH CABLE, CAT 5E, FTP, LSZH, 1,5M, BLUE | INTRONICS | IB 7651 | IB 7651 |  | {} | ["150W5", "1", "PATCH CABLE, CAT 5E, FTP, LSZH, 1,5M, BLUE", "IB 7651", "IB 7651", "INTRONICS"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 35 |  | 158 | 150X1 | 1 | FEEDTHROUGH CONNECTOR, USB, TYPE A, IP68 | FARNELL | 1629392 | 1629392 |  | {} | ["150X1", "1", "FEEDTHROUGH CONNECTOR, USB, TYPE A, IP68", "1629392", "1629392", "FARNELL"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 35 |  | 159 | 150X1 | 1 | COVER, WITH CORD, IP68 | FARNELL | 8406758 | 8406758 |  | {} | ["150X1", "1", "COVER, WITH CORD, IP68", "8406758", "8406758", "FARNELL"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 35 |  | 160 | 150X2 | 1 | FEEDTHROUGH CONNECTOR, USB, TYPE A, IP68 | FARNELL | 1629392 | 1629392 |  | {} | ["150X2", "1", "FEEDTHROUGH CONNECTOR, USB, TYPE A, IP68", "1629392", "1629392", "FARNELL"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 35 |  | 161 | 150X2 | 1 | COVER, WITH CORD, IP68 | FARNELL | 8406758 | 8406758 |  | {} | ["150X2", "1", "COVER, WITH CORD, IP68", "8406758", "8406758", "FARNELL"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 35 |  | 162 | 150X4 | 1 | FEEDTHROUGH CONNECTOR, USB, TYPE A, IP68 | FARNELL | 1629392 | 1629392 |  | {} | ["150X4", "1", "FEEDTHROUGH CONNECTOR, USB, TYPE A, IP68", "1629392", "1629392", "FARNELL"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 35 |  | 163 | 150X4 | 1 | COVER, WITH CORD, IP68 | FARNELL | 8406758 | 8406758 |  | {} | ["150X4", "1", "COVER, WITH CORD, IP68", "8406758", "8406758", "FARNELL"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 35 |  | 164 | 151A1 | 1 | MATRIX 220 DPM CODE READER | Datalogic S.R.L. Benelux | Matrix 220 352-010 | 937900034 |  | {} | ["151A1", "1", "MATRIX 220 DPM CODE READER", "Matrix 220 352-010", "937900034", "Datalogic S.R.L. Benelux"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 35 |  | 165 | 151W1 | 1 | CAB-GD03 M12 F/L 3M | Datalogic S.R.L. Benelux | CAB-GD03 | 93A050076 |  | {} | ["151W1", "1", "CAB-GD03 M12 F/L 3M", "CAB-GD03", "93A050076", "Datalogic S.R.L. Benelux"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 35 |  | 166 | 151W2 | 1 | M12-IP67 GIGA Ethernet Cable X-Coded (3M) | Datalogic S.R.L. Benelux | CAB-ETH-X-M03 | 93A050123 |  | {} | ["151W2", "1", "M12-IP67 GIGA Ethernet Cable X-Coded (3M)", "CAB-ETH-X-M03", "93A050123", "Datalogic S.R.L. Benelux"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 35 |  | 167 | XS1 | 1 | FEEDTHROUGH CONNECTOR, ETHERNET, RJ45, IP67 | FARNELL | 1220799 | 1220799 |  | {} | ["XS1", "1", "FEEDTHROUGH CONNECTOR, ETHERNET, RJ45, IP67", "1220799", "1220799", "FARNELL"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 36 |  | 168 | 150M6 | 1 | CABINET FAN Blue e+, 24V(DC), 63³/H, RAL7035 | Rittal | SK.3238724 | 3238724 |  | {"col_6": ""} | ["150M6", "1", "CABINET FAN Blue e+, 24V(DC), 63³/H, RAL7035", "SK.3238724", "3238724", "Rittal", ""]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 36 |  | 169 | 150S6 | 1 | SELECTOR SWITCH, 2 POSITION 90°, IP659, FRONT FIXING, BLACK, METAL | EAO FIGROEN | 704.411.018 | 704.411.018 |  | {"col_6": ""} | ["150S6", "1", "SELECTOR SWITCH, 2 POSITION 90°, IP659, FRONT FIXING, BLACK, METAL", "704.411.018", "704.411.018", "EAO FIGROEN", ""]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 36 |  | 170 | 150S6 | 1 | CONTACT BLOCK, 2NO, SCREW CONNECTION | EAO FIGROEN | 704.900.3 | 704.900.3 |  | {"col_6": "UL NKCR.E60460\n_"} | ["150S6", "1", "CONTACT BLOCK, 2NO, SCREW CONNECTION", "704.900.3", "704.900.3", "EAO FIGROEN", "UL NKCR.E60460\n_"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 36 |  | 171 | 150S6 | 2 | CONNECTOR, FEMALE, PUSH-IN-CONNECTION, 2 POLE | PHOENIX CONTACT | PP-H2,5/2 | 3209879 |  | {"col_6": "UL XCFR2.E60425\n_"} | ["150S6", "2", "CONNECTOR, FEMALE, PUSH-IN-CONNECTION, 2 POLE", "PP-H2,5/2", "3209879", "PHOENIX CONTACT", "UL XCFR2.E60425\n_"]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 36 |  | 172 | 150S6 | 2 | LOCK | PHOENIX CONTACT | PRZ | 3040614 |  | {"col_6": ""} | ["150S6", "2", "LOCK", "PRZ", "3040614", "PHOENIX CONTACT", ""]
MAXXeGUARD BASIS + VISION + LADE (Beckhoff) V4.26.pdf | 36 |  | 173 | 150W6 | 2 | CONTROL CABLE, PVC, CORES NUMBERED, 3G1 | LAPP BENELUX | ÖLFLEX CONTROL TM | 281803 |  | {"col_6": "UL AVLV2.E63634\n_"} | ["150W6", "2", "CONTROL CABLE, PVC, CORES NUMBERED, 3G1", "ÖLFLEX CONTROL TM", "281803", "LAPP BENELUX", "UL AVLV2.E63634\n_"]