## 126-0053 Cabinet Lineator Co
source_pdf | source_page | source_section | row_index | device_tag | quantity | description | manufacturer | model_number | order_number | schematic_position | extra_fields | raw | warnings
126-0053 Cabinet Lineator Controller.pdf | 33 |  | 0 | 100F0 | 1 | CIRCUIT-BREAKER, 2P, 4A, C-CHAR, 15KA | EATON | FAZ-C4/2 |  |  | {"col_5": "/100.0"} | ["100F0", "1", "CIRCUIT-BREAKER, 2P, 4A, C-CHAR, 15KA", "FAZ-C4/2", "EATON", "/100.0"]
126-0053 Cabinet Lineator Controller.pdf | 33 |  | 1 | 100Q0 | 1 | MAINTENANCE SWITCHES ON−OFF | ITSME | T0-1-102/V/SVB |  |  | {"col_5": "/100.0"} | ["100Q0", "1", "MAINTENANCE SWITCHES ON−OFF", "T0-1-102/V/SVB", "ITSME", "/100.0"]
126-0053 Cabinet Lineator Controller.pdf | 33 |  | 2 | 100Q0 | 1 | Mounting bracket | EATON | ZAV-T0 |  |  | {"col_5": "/100.0"} | ["100Q0", "1", "Mounting bracket", "ZAV-T0", "EATON", "/100.0"]
126-0053 Cabinet Lineator Controller.pdf | 33 |  | 3 | 100Q0 | 1 | Mounting bracket | EATON | ZVV-T0 |  |  | {"col_5": "/100.0"} | ["100Q0", "1", "Mounting bracket", "ZVV-T0", "EATON", "/100.0"]
126-0053 Cabinet Lineator Controller.pdf | 33 |  | 4 | 101U4 | 1 | POWER SUPPLY, 1 PHASE, 85…264VAC, 24VDC 1,3A | SIEMENS | 6EP3331-6SB00-0AY0 |  |  | {"col_5": "/101.4"} | ["101U4", "1", "POWER SUPPLY, 1 PHASE, 85…264VAC, 24VDC 1,3A", "6EP3331-6SB00-0AY0", "SIEMENS", "/101.4"]
126-0053 Cabinet Lineator Controller.pdf | 33 |  | 5 | 101U4 | 1 | RESIDUAL CURRENT DEVICE, 1P+N, 6A/30MA, C-CHAR, 6KA | SIEMENS | 5SU1656-6KK06 |  |  | {"col_5": "/010.7"} | ["101U4", "1", "RESIDUAL CURRENT DEVICE, 1P+N, 6A/30MA, C-CHAR, 6KA", "5SU1656-6KK06", "SIEMENS", "/010.7"]
126-0053 Cabinet Lineator Controller.pdf | 33 |  | 6 | 104U0 | 1 | Signal conditioner | PHOENIX CONTACT | MINI MCR-SL-SHUNT-UI-NC |  |  | {"col_5": "/104.0"} | ["104U0", "1", "Signal conditioner", "MINI MCR-SL-SHUNT-UI-NC", "PHOENIX CONTACT", "/104.0"]
126-0053 Cabinet Lineator Controller.pdf | 33 |  | 7 | 104U5 | 1 | Signal conditioner | PHOENIX CONTACT | MINI MCR-SL-SHUNT-UI-NC |  |  | {"col_5": "/104.5"} | ["104U5", "1", "Signal conditioner", "MINI MCR-SL-SHUNT-UI-NC", "PHOENIX CONTACT", "/104.5"]
126-0053 Cabinet Lineator Controller.pdf | 33 |  | 8 | 200A1 | 1 | CPU, 24VDC, 75KB MEMORY, ETHERNET, I/O INTEGRATED | SIEMENS | 6ES7212-1AE40-0XB0 |  |  | {"col_5": "/201.2"} | ["200A1", "1", "CPU, 24VDC, 75KB MEMORY, ETHERNET, I/O INTEGRATED", "6ES7212-1AE40-0XB0", "SIEMENS", "/201.2"]
126-0053 Cabinet Lineator Controller.pdf | 33 |  | 9 | 200A1 | 1 | MEMORY CARD, 4MB | SIEMENS | 6ES7 954-8LC02-0AA0 |  |  | {"col_5": "/201.2"} | ["200A1", "1", "MEMORY CARD, 4MB", "6ES7 954-8LC02-0AA0", "SIEMENS", "/201.2"]
126-0053 Cabinet Lineator Controller.pdf | 33 |  | 10 | 200A2 | 1 | DIGITAL OUTPUT MODULE | SIEMENS | 6ES7222-1BD30-0XB0 |  |  | {"col_5": "/201.6"} | ["200A2", "1", "DIGITAL OUTPUT MODULE", "6ES7222-1BD30-0XB0", "SIEMENS", "/201.6"]
126-0053 Cabinet Lineator Controller.pdf | 33 |  | 11 | 200A3 | 1 | ANALOG OUTPUT, 4 X U / I | SIEMENS | 6ES7232-4HD32-0XB0 |  |  | {"col_5": "/202.3"} | ["200A3", "1", "ANALOG OUTPUT, 4 X U / I", "6ES7232-4HD32-0XB0", "SIEMENS", "/202.3"]
126-0053 Cabinet Lineator Controller.pdf | 33 |  | 12 | 200A3 | 1 | PATCH CABLE, CAT 6, S/STP, LSZH, 1M, GREY | Intronics | FB 9001 |  |  | {"col_5": "/202.3"} | ["200A3", "1", "PATCH CABLE, CAT 6, S/STP, LSZH, 1M, GREY", "FB 9001", "Intronics", "/202.3"]
126-0053 Cabinet Lineator Controller.pdf | 33 |  | 13 | 204S7 | 1 | KEYLOCK SWITCH, 2 POSITION 60°, IP65 | EATON | M22-WRS |  |  | {"col_5": "/204.7"} | ["204S7", "1", "KEYLOCK SWITCH, 2 POSITION 60°, IP65", "M22-WRS", "EATON", "/204.7"]
126-0053 Cabinet Lineator Controller.pdf | 33 |  | 14 | 204S7 | 1 | CONTACT BLOCK, 1NO, SCREW CONNECTION, FRONT FIXING | EATON | M22-K10 |  |  | {"col_5": "/204.7"} | ["204S7", "1", "CONTACT BLOCK, 1NO, SCREW CONNECTION, FRONT FIXING", "M22-K10", "EATON", "/204.7"]
126-0053 Cabinet Lineator Controller.pdf | 33 |  | 15 | 204S7 | 1 | ADAPTER | EATON | M22-A |  |  | {"col_5": "/204.7"} | ["204S7", "1", "ADAPTER", "M22-A", "EATON", "/204.7"]
126-0053 Cabinet Lineator Controller.pdf | 33 |  | 16 | 205K3 | 1 | AUXILIARY CONTACTOR, 2CO, 24VDC, POLARITY AND WHEELING DIODE, LED, TESTBUTTON | FINDER | 40.52.9.024.0000 |  |  | {"col_5": "/205.3"} | ["205K3", "1", "AUXILIARY CONTACTOR, 2CO, 24VDC, POLARITY AND WHEELING DIODE, LED, TESTBUTTON", "40.52.9.024.0000", "FINDER", "/205.3"]
126-0053 Cabinet Lineator Controller.pdf | 33 |  | 17 | 205K3 | 1 | PLUG-IN BASE, 8 PIN, SCREW CONNECTION, BLUE | FINDER | 95.95.3 |  |  | {"col_5": "/205.3"} | ["205K3", "1", "PLUG-IN BASE, 8 PIN, SCREW CONNECTION, BLUE", "95.95.3", "FINDER", "/205.3"]
126-0053 Cabinet Lineator Controller.pdf | 33 |  | 18 | 205K4 | 1 | AUXILIARY CONTACTOR, 2CO, 24VDC, POLARITY AND WHEELING DIODE, LED, TESTBUTTON | FINDER | 40.52.9.024.0000 |  |  | {"col_5": "/205.4"} | ["205K4", "1", "AUXILIARY CONTACTOR, 2CO, 24VDC, POLARITY AND WHEELING DIODE, LED, TESTBUTTON", "40.52.9.024.0000", "FINDER", "/205.4"]
126-0053 Cabinet Lineator Controller.pdf | 33 |  | 19 | 205K4 | 1 | PLUG-IN BASE, 8 PIN, SCREW CONNECTION, BLUE | FINDER | 95.95.3 |  |  | {"col_5": "/205.4"} | ["205K4", "1", "PLUG-IN BASE, 8 PIN, SCREW CONNECTION, BLUE", "95.95.3", "FINDER", "/205.4"]
126-0053 Cabinet Lineator Controller.pdf | 33 |  | 20 | 205K5 | 1 | AUXILIARY CONTACTOR, 1CO, 6A, 24VDC, PUSH-IN-CONNECTION | PHOENIX CONTACT | PLC-RPT- 24DC/21 |  |  | {"col_5": "/205.5"} | ["205K5", "1", "AUXILIARY CONTACTOR, 1CO, 6A, 24VDC, PUSH-IN-CONNECTION", "PLC-RPT- 24DC/21", "PHOENIX CONTACT", "/205.5"]
126-0053 Cabinet Lineator Controller.pdf | 33 |  | 21 | 205K6 | 1 | AUXILIARY CONTACTOR, 1CO, 6A, 24VDC, PUSH-IN-CONNECTION | PHOENIX CONTACT | PLC-RPT- 24DC/21 |  |  | {"col_5": "/205.6"} | ["205K6", "1", "AUXILIARY CONTACTOR, 1CO, 6A, 24VDC, PUSH-IN-CONNECTION", "PLC-RPT- 24DC/21", "PHOENIX CONTACT", "/205.6"]
126-0053 Cabinet Lineator Controller.pdf | 33 |  | 22 | 205K7 | 1 | AUXILIARY CONTACTOR, 1CO, 6A, 24VDC, PUSH-IN-CONNECTION | PHOENIX CONTACT | PLC-RPT- 24DC/21 |  |  | {"col_5": "/205.8"} | ["205K7", "1", "AUXILIARY CONTACTOR, 1CO, 6A, 24VDC, PUSH-IN-CONNECTION", "PLC-RPT- 24DC/21", "PHOENIX CONTACT", "/205.8"]
126-0053 Cabinet Lineator Controller.pdf | 33 |  | 23 | 205K8 | 1 | AUXILIARY CONTACTOR, 1CO, 6A, 24VDC, PUSH-IN-CONNECTION | PHOENIX CONTACT | PLC-RPT- 24DC/21 |  |  | {"col_5": "/205.9"} | ["205K8", "1", "AUXILIARY CONTACTOR, 1CO, 6A, 24VDC, PUSH-IN-CONNECTION", "PLC-RPT- 24DC/21", "PHOENIX CONTACT", "/205.9"]
126-0053 Cabinet Lineator Controller.pdf | 33 |  | 24 | 206H1 | 1 | INDICATOR, IP67, GREEN | EATON | M22-L-G |  |  | {"col_5": "/206.3"} | ["206H1", "1", "INDICATOR, IP67, GREEN", "M22-L-G", "EATON", "/206.3"]
126-0053 Cabinet Lineator Controller.pdf | 33 |  | 25 | 206H1 | 1 | ADAPTER | EATON | M22-A |  |  | {"col_5": "/206.3"} | ["206H1", "1", "ADAPTER", "M22-A", "EATON", "/206.3"]
126-0053 Cabinet Lineator Controller.pdf | 33 |  | 26 | 206H1 | 1 | LED, 12...30VAC/DC , 15MA, SCREW CONNECTION, FRONT FIXING, WHITE | EATON | M22-LED-W |  |  | {"col_5": "/206.3"} | ["206H1", "1", "LED, 12...30VAC/DC , 15MA, SCREW CONNECTION, FRONT FIXING, WHITE", "M22-LED-W", "EATON", "/206.3"]
126-0053 Cabinet Lineator Controller.pdf | 33 |  | 27 | 206K4 | 1 | AUXILIARY CONTACTOR, 1CO, 6A, 24VDC, PUSH-IN-CONNECTION | PHOENIX CONTACT | PLC-RPT- 24DC/21 |  |  | {"col_5": "/206.4"} | ["206K4", "1", "AUXILIARY CONTACTOR, 1CO, 6A, 24VDC, PUSH-IN-CONNECTION", "PLC-RPT- 24DC/21", "PHOENIX CONTACT", "/206.4"]
126-0053 Cabinet Lineator Controller.pdf | 33 |  | 28 | 206K5 | 1 | AUXILIARY CONTACTOR, 1CO, 6A, 24VDC, PUSH-IN-CONNECTION | PHOENIX CONTACT | PLC-RPT- 24DC/21 |  |  | {"col_5": "/206.5"} | ["206K5", "1", "AUXILIARY CONTACTOR, 1CO, 6A, 24VDC, PUSH-IN-CONNECTION", "PLC-RPT- 24DC/21", "PHOENIX CONTACT", "/206.5"]
126-0053 Cabinet Lineator Controller.pdf | 33 |  | 29 | 300U1 | 1 | HMI, 24VDC, 7", TOUCH, TFT, 16M COLORS, 12MB, PROFINET, PROFIBUS, 12MB, IP65 | SIEMENS | 6AV2124-0GC01-0AX0 |  |  | {"col_5": "/300.1"} | ["300U1", "1", "HMI, 24VDC, 7\", TOUCH, TFT, 16M COLORS, 12MB, PROFINET, PROFIBUS, 12MB, IP65", "6AV2124-0GC01-0AX0", "SIEMENS", "/300.1"]
126-0053 Cabinet Lineator Controller.pdf | 33 |  | 30 | PANEEL | 0 | CABLE GLAND, M12X1,5, 3…6,5MM, POLYAMIDE, -40…100°C, IP68, GREY | HUMMEL | HSK-K M12X1,5 3…6,5MM GRIJS _ _ _ |  |  | {"col_5": "/010"} | ["PANEEL", "0", "CABLE GLAND, M12X1,5, 3…6,5MM, POLYAMIDE, -40…100°C, IP68, GREY", "HSK-K M12X1,5 3…6,5MM GRIJS\n_ _ _", "HUMMEL", "/010"]
126-0053 Cabinet Lineator Controller.pdf | 33 |  | 31 | PANEEL | 0 | LOCK NUT, M12X1,5, POLYAMIDE, -40…100°C, GREY | HUMMEL | GM-FS M12X1,5 GRIJS _ _ |  |  | {"col_5": "/010"} | ["PANEEL", "0", "LOCK NUT, M12X1,5, POLYAMIDE, -40…100°C, GREY", "GM-FS M12X1,5 GRIJS\n_ _", "HUMMEL", "/010"]
126-0053 Cabinet Lineator Controller.pdf | 33 |  | 32 | PANEEL | 0 | CABLE GLAND, M16X1,5, 5…10MM, POLYAMIDE, -40…100°C, IP68, GREY | HUMMEL | HSK-K M16X1, 5…10MM GRIJS _ _ _ |  |  | {"col_5": "/010"} | ["PANEEL", "0", "CABLE GLAND, M16X1,5, 5…10MM, POLYAMIDE, -40…100°C, IP68, GREY", "HSK-K M16X1, 5…10MM GRIJS\n_ _ _", "HUMMEL", "/010"]
126-0053 Cabinet Lineator Controller.pdf | 33 |  | 33 | PANEEL | 0 | LOCK NUT, M16X1,5, POLYAMIDE, -40…100°C, GREY | HUMMEL | GM-FS M16X1,5 GRIJS _ _ |  |  | {"col_5": "/010"} | ["PANEEL", "0", "LOCK NUT, M16X1,5, POLYAMIDE, -40…100°C, GREY", "GM-FS M16X1,5 GRIJS\n_ _", "HUMMEL", "/010"]
126-0053 Cabinet Lineator Controller.pdf | 33 |  | 34 | PANEEL | 0 | CABLE GLAND, M20X1,5, 6…12MM, POLYAMIDE, -40…100°C, IP68, GREY | HUMMEL | HSK-K M20X1, 6…12MM GRIJS _ _ _ |  |  | {"col_5": "/010"} | ["PANEEL", "0", "CABLE GLAND, M20X1,5, 6…12MM, POLYAMIDE, -40…100°C, IP68, GREY", "HSK-K M20X1, 6…12MM GRIJS\n_ _ _", "HUMMEL", "/010"]
126-0053 Cabinet Lineator Controller.pdf | 33 |  | 35 | PANEEL | 0 | LOCK NUT, M20X1,5, POLYAMIDE, -40…100°C, GREY | HUMMEL | GM-FS M20X1,5 GRIJS _ _ |  |  | {"col_5": "/010"} | ["PANEEL", "0", "LOCK NUT, M20X1,5, POLYAMIDE, -40…100°C, GREY", "GM-FS M20X1,5 GRIJS\n_ _", "HUMMEL", "/010"]
126-0053 Cabinet Lineator Controller.pdf | 33 |  | 36 | PANEEL | 0 | CABLE GLAND, M25X1,5, 13…18MM, POLYAMIDE, -40…100°C, IP68, GREY | HUMMEL | HSK-K M25X1,5 13…18MM 30 GRIJS _ _ _ _ |  |  | {"col_5": "/010"} | ["PANEEL", "0", "CABLE GLAND, M25X1,5, 13…18MM, POLYAMIDE, -40…100°C, IP68, GREY", "HSK-K M25X1,5 13…18MM 30 GRIJS\n_ _ _ _", "HUMMEL", "/010"]
126-0053 Cabinet Lineator Controller.pdf | 34 |  | 37 | PANEEL | 0 | LOCK NUT, M25X1,5, POLYAMIDE, -40…100°C, GREY | HUMMEL | GM-FS M25X1,5 GRIJS _ _ |  |  | {"col_5": "/010"} | ["PANEEL", "0", "LOCK NUT, M25X1,5, POLYAMIDE, -40…100°C, GREY", "GM-FS M25X1,5 GRIJS\n_ _", "HUMMEL", "/010"]
126-0053 Cabinet Lineator Controller.pdf | 34 |  | 38 | PANEEL | 0 | CABLE GLAND, M32X1,5, 18…25MM, POLYAMIDE, -40…100°C, IP68, GREY | HUMMEL | HSK-K M32X1,5 18…25MM GRIJS _ _ _ |  |  | {"col_5": "/010"} | ["PANEEL", "0", "CABLE GLAND, M32X1,5, 18…25MM, POLYAMIDE, -40…100°C, IP68, GREY", "HSK-K M32X1,5 18…25MM GRIJS\n_ _ _", "HUMMEL", "/010"]
126-0053 Cabinet Lineator Controller.pdf | 34 |  | 39 | PANEEL | 0 | LOCK NUT, M32X1,5, POLYAMIDE, -40…100°C, GREY | HUMMEL | GM-FS M32X1,5 GRIJS _ _ |  |  | {"col_5": "/010"} | ["PANEEL", "0", "LOCK NUT, M32X1,5, POLYAMIDE, -40…100°C, GREY", "GM-FS M32X1,5 GRIJS\n_ _", "HUMMEL", "/010"]
126-0053 Cabinet Lineator Controller.pdf | 34 |  | 40 | PANEEL | 0 | CABLE GLAND SPACER, M20, 6X2MM, ELASTOMER, -40…100°C | HUMMEL | 1.089.1301.19 |  |  | {"col_5": "/010"} | ["PANEEL", "0", "CABLE GLAND SPACER, M20, 6X2MM, ELASTOMER, -40…100°C", "1.089.1301.19", "HUMMEL", "/010"]
126-0053 Cabinet Lineator Controller.pdf | 34 |  | 41 | PANEEL | 0 | CABLE GLAND SPACER, M25, 4X5MM, ELASTOMER, -40…100°C | HUMMEL | 1.089.2103.19 |  |  | {"col_5": "/010"} | ["PANEEL", "0", "CABLE GLAND SPACER, M25, 4X5MM, ELASTOMER, -40…100°C", "1.089.2103.19", "HUMMEL", "/010"]
126-0053 Cabinet Lineator Controller.pdf | 34 |  | 42 | PANEEL | 0 | CABLE GLAND SPACER, M25, 4X6MM, ELASTOMER, -40…100°C | HUMMEL | 1.089.2100.19 |  |  | {"col_5": "/010"} | ["PANEEL", "0", "CABLE GLAND SPACER, M25, 4X6MM, ELASTOMER, -40…100°C", "1.089.2100.19", "HUMMEL", "/010"]
126-0053 Cabinet Lineator Controller.pdf | 34 |  | 43 | PANEEL | 0 | CABLE GLAND SPACER, M32, 6X6,5MM, ELASTOMER, -40…100°C | HUMMEL | 1.089.2900.19 |  |  | {"col_5": "/010"} | ["PANEEL", "0", "CABLE GLAND SPACER, M32, 6X6,5MM, ELASTOMER, -40…100°C", "1.089.2900.19", "HUMMEL", "/010"]
126-0053 Cabinet Lineator Controller.pdf | 34 |  | 44 | PANEEL | 0 | SUPPORT | PHOENIX CONTACT | AB/SS-M |  |  | {"col_5": "/010"} | ["PANEEL", "0", "SUPPORT", "AB/SS-M", "PHOENIX CONTACT", "/010"]
126-0053 Cabinet Lineator Controller.pdf | 34 |  | 45 | PANEEL | 0 | SCHERMAANSLUITKLEM, 3...8MM | PHOENIX CONTACT | SK 8 |  |  | {"col_5": "/010"} | ["PANEEL", "0", "SCHERMAANSLUITKLEM, 3...8MM", "SK 8", "PHOENIX CONTACT", "/010"]
126-0053 Cabinet Lineator Controller.pdf | 34 |  | 46 | PANEEL | 0 | SCHERMAANSLUITKLEM, 3...14MM | PHOENIX CONTACT | SK 14 |  |  | {"col_5": "/010"} | ["PANEEL", "0", "SCHERMAANSLUITKLEM, 3...14MM", "SK 14", "PHOENIX CONTACT", "/010"]
126-0053 Cabinet Lineator Controller.pdf | 34 |  | 47 | PANEEL | 0 | SHIELD CONNECTION, 5...20MM | PHOENIX CONTACT | SK 20 |  |  | {"col_5": "/010"} | ["PANEEL", "0", "SHIELD CONNECTION, 5...20MM", "SK 20", "PHOENIX CONTACT", "/010"]
126-0053 Cabinet Lineator Controller.pdf | 34 |  | 48 | PANEEL | 0 | SHIELD CONNECTION, 20...35MM | PHOENIX CONTACT | SK 35 |  |  | {"col_5": "/010"} | ["PANEEL", "0", "SHIELD CONNECTION, 20...35MM", "SK 35", "PHOENIX CONTACT", "/010"]
126-0053 Cabinet Lineator Controller.pdf | 34 |  | 49 | PANEEL | 0 | BUSBAR, 10X3, L=1000MM | PHOENIX CONTACT | NLS-CU 3/10 SN 1000MM |  |  | {"col_5": "/010"} | ["PANEEL", "0", "BUSBAR, 10X3, L=1000MM", "NLS-CU 3/10 SN 1000MM", "PHOENIX CONTACT", "/010"]
126-0053 Cabinet Lineator Controller.pdf | 34 |  | 50 | PV | 4 | 2 STACK TERMINAL, PUSH-IN-CONNECTION | PHOENIX CONTACT | PTTB 2,5-PV |  |  | {"col_5": ""} | ["PV", "4", "2 STACK TERMINAL, PUSH-IN-CONNECTION", "PTTB 2,5-PV", "PHOENIX CONTACT", ""]
126-0053 Cabinet Lineator Controller.pdf | 34 |  | 51 | PV | 2 | END COVER | PHOENIX CONTACT | D-PTTB 2,5 |  |  | {"col_5": ""} | ["PV", "2", "END COVER", "D-PTTB 2,5", "PHOENIX CONTACT", ""]
126-0053 Cabinet Lineator Controller.pdf | 34 |  | 52 | X0 | 4 | TERMINAL, PUSH-IN-CONNECTION | PHOENIX CONTACT | PT 2,5 |  |  | {"col_5": "/100.0"} | ["X0", "4", "TERMINAL, PUSH-IN-CONNECTION", "PT 2,5", "PHOENIX CONTACT", "/100.0"]
126-0053 Cabinet Lineator Controller.pdf | 34 |  | 53 | X0 | 1 | TERMINAL, GREEN/YELLOW, PUSH-IN-CONNECTION, CONNECTOR CONNECTION | PHOENIX CONTACT | PT 2,5/1P-PE |  |  | {"col_5": ""} | ["X0", "1", "TERMINAL, GREEN/YELLOW, PUSH-IN-CONNECTION, CONNECTOR CONNECTION", "PT 2,5/1P-PE", "PHOENIX CONTACT", ""]
126-0053 Cabinet Lineator Controller.pdf | 34 |  | 54 | X0 | 1 | END COVER | PHOENIX CONTACT | D-ST 2,5 |  |  | {"col_5": "/100.0"} | ["X0", "1", "END COVER", "D-ST 2,5", "PHOENIX CONTACT", "/100.0"]
126-0053 Cabinet Lineator Controller.pdf | 34 |  | 55 | X0 | 2 | END BRACKET | PHOENIX CONTACT | CLIPFIX 35 |  |  | {"col_5": "/100.0"} | ["X0", "2", "END BRACKET", "CLIPFIX 35", "PHOENIX CONTACT", "/100.0"]
126-0053 Cabinet Lineator Controller.pdf | 34 |  | 56 | X0 | 1 | TERMINAL, GREEN/YELLOW, PUSH-IN-CONNECTION | PHOENIX CONTACT | PT 2,5-PE |  |  | {"col_5": "/100.0"} | ["X0", "1", "TERMINAL, GREEN/YELLOW, PUSH-IN-CONNECTION", "PT 2,5-PE", "PHOENIX CONTACT", "/100.0"]
126-0053 Cabinet Lineator Controller.pdf | 34 |  | 57 | X1 | 5 | TERMINAL, PUSH-IN-CONNECTION | PHOENIX CONTACT | PT 2,5 |  |  | {"col_5": ""} | ["X1", "5", "TERMINAL, PUSH-IN-CONNECTION", "PT 2,5", "PHOENIX CONTACT", ""]
126-0053 Cabinet Lineator Controller.pdf | 34 |  | 58 | X1 | 1 | END COVER | PHOENIX CONTACT | D-ST 2,5 |  |  | {"col_5": ""} | ["X1", "1", "END COVER", "D-ST 2,5", "PHOENIX CONTACT", ""]
126-0053 Cabinet Lineator Controller.pdf | 34 |  | 59 | X2 | 2 | 2 STACK TERMINAL, PUSH-IN-CONNECTION | PHOENIX CONTACT | PTTBS 2,5 |  |  | {"col_5": ""} | ["X2", "2", "2 STACK TERMINAL, PUSH-IN-CONNECTION", "PTTBS 2,5", "PHOENIX CONTACT", ""]
126-0053 Cabinet Lineator Controller.pdf | 34 |  | 60 | X2 | 1 | END COVER | PHOENIX CONTACT | D-STTBS 2,5 |  |  | {"col_5": ""} | ["X2", "1", "END COVER", "D-STTBS 2,5", "PHOENIX CONTACT", ""]
126-0053 Cabinet Lineator Controller.pdf | 34 |  | 61 | X3 | 2 | 2 STACK TERMINAL, PUSH-IN-CONNECTION | PHOENIX CONTACT | PTTBS 2,5 |  |  | {"col_5": ""} | ["X3", "2", "2 STACK TERMINAL, PUSH-IN-CONNECTION", "PTTBS 2,5", "PHOENIX CONTACT", ""]
126-0053 Cabinet Lineator Controller.pdf | 34 |  | 62 | X3 | 1 | END COVER | PHOENIX CONTACT | D-STTBS 2,5 |  |  | {"col_5": ""} | ["X3", "1", "END COVER", "D-STTBS 2,5", "PHOENIX CONTACT", ""]
126-0053 Cabinet Lineator Controller.pdf | 34 |  | 63 | X4 | 1 | 2 STACK TERMINAL, PUSH-IN-CONNECTION | PHOENIX CONTACT | PTTBS 2,5 |  |  | {"col_5": ""} | ["X4", "1", "2 STACK TERMINAL, PUSH-IN-CONNECTION", "PTTBS 2,5", "PHOENIX CONTACT", ""]
126-0053 Cabinet Lineator Controller.pdf | 34 |  | 64 | X4 | 1 | END COVER | PHOENIX CONTACT | D-STTBS 2,5 |  |  | {"col_5": ""} | ["X4", "1", "END COVER", "D-STTBS 2,5", "PHOENIX CONTACT", ""]
126-0053 Cabinet Lineator Controller.pdf | 34 |  | 65 | X5 | 3 | 2 STACK TERMINAL, PUSH-IN-CONNECTION | PHOENIX CONTACT | PTTBS 2,5 |  |  | {"col_5": ""} | ["X5", "3", "2 STACK TERMINAL, PUSH-IN-CONNECTION", "PTTBS 2,5", "PHOENIX CONTACT", ""]
126-0053 Cabinet Lineator Controller.pdf | 34 |  | 66 | X5 | 1 | 2 STACK TERMINAL, GREEN/YELLOW, PUSH-IN-CONNECTION | PHOENIX CONTACT | PTTBS 2,5-PE |  |  | {"col_5": ""} | ["X5", "1", "2 STACK TERMINAL, GREEN/YELLOW, PUSH-IN-CONNECTION", "PTTBS 2,5-PE", "PHOENIX CONTACT", ""]
126-0053 Cabinet Lineator Controller.pdf | 34 |  | 67 | X5 | 1 | END COVER | PHOENIX CONTACT | D-STTBS 2,5 |  |  | {"col_5": ""} | ["X5", "1", "END COVER", "D-STTBS 2,5", "PHOENIX CONTACT", ""]
126-0053 Cabinet Lineator Controller.pdf | 34 |  | 68 | X6 | 1 | 2 STACK TERMINAL, PUSH-IN-CONNECTION | PHOENIX CONTACT | PTTBS 2,5 |  |  | {"col_5": ""} | ["X6", "1", "2 STACK TERMINAL, PUSH-IN-CONNECTION", "PTTBS 2,5", "PHOENIX CONTACT", ""]
126-0053 Cabinet Lineator Controller.pdf | 34 |  | 69 | X6 | 1 | 2 STACK TERMINAL, GREEN/YELLOW, PUSH-IN-CONNECTION | PHOENIX CONTACT | PTTBS 2,5-PE |  |  | {"col_5": ""} | ["X6", "1", "2 STACK TERMINAL, GREEN/YELLOW, PUSH-IN-CONNECTION", "PTTBS 2,5-PE", "PHOENIX CONTACT", ""]
126-0053 Cabinet Lineator Controller.pdf | 34 |  | 70 | X6 | 1 | END COVER | PHOENIX CONTACT | D-STTBS 2,5 |  |  | {"col_5": ""} | ["X6", "1", "END COVER", "D-STTBS 2,5", "PHOENIX CONTACT", ""]
126-0053 Cabinet Lineator Controller.pdf | 34 |  | 71 | X7 | 2 | 2 STACK TERMINAL, PUSH-IN-CONNECTION | PHOENIX CONTACT | PTTBS 2,5 |  |  | {"col_5": ""} | ["X7", "2", "2 STACK TERMINAL, PUSH-IN-CONNECTION", "PTTBS 2,5", "PHOENIX CONTACT", ""]
126-0053 Cabinet Lineator Controller.pdf | 34 |  | 72 | X7 | 1 | END COVER | PHOENIX CONTACT | D-STTBS 2,5 |  |  | {"col_5": ""} | ["X7", "1", "END COVER", "D-STTBS 2,5", "PHOENIX CONTACT", ""]
126-0053 Cabinet Lineator Controller.pdf | 34 |  | 73 | X8 | 4 | 2 STACK TERMINAL, PUSH-IN-CONNECTION | PHOENIX CONTACT | PTTBS 2,5 |  |  | {"col_5": ""} | ["X8", "4", "2 STACK TERMINAL, PUSH-IN-CONNECTION", "PTTBS 2,5", "PHOENIX CONTACT", ""]
126-0053 Cabinet Lineator Controller.pdf | 35 |  | 74 | X8 | 1 | END COVER | PHOENIX CONTACT | D-STTBS 2,5 |  |  | {} | ["X8", "1", "END COVER", "D-STTBS 2,5", "PHOENIX CONTACT"]
126-0053 Cabinet Lineator Controller.pdf | 35 |  | 75 | X9 | 1 | 2 STACK TERMINAL, PUSH-IN-CONNECTION | PHOENIX CONTACT | PTTBS 2,5 |  |  | {} | ["X9", "1", "2 STACK TERMINAL, PUSH-IN-CONNECTION", "PTTBS 2,5", "PHOENIX CONTACT"]